## Cover Page and Instructions
Gavi Cold Chain Optimisation Platform (CCE OP)
Country
Instruction
1. This template should be filled by ALL countries applying for Platform support.
2. The 'Specified CCE Model Price List' spreadsheet provides an overview of the planning prices per equipment type: 'PQS indicative equipment unit price' + 'Service bundle estimates'.
a) For budget planning purposes, service bundle estimates are: For On-grid equipment: $400-$1350, for Off-grid equipment: $650-$2150, and for Remote temperature monitoring devices (RTMDs): $200-$400
b) Countries should plan their budgets with the service bundle lower limit estimates (e.g. $400 for on-grid equipment) for CCE to be installed in health facilities with low costs of in-country transportation (e.g. short times, high-quality infrastructure), the upper limit estimates (e.g. $2150 for off-grid equipment) for CCE to be installed in health facilities with high costs of in-country transportation (e.g. long travel times, low quality infrastructure) and in-between estimates, as appropriate.
3. The 'Specified CCE Model Selection' spreadsheet should be used for reference when building the budget for (total) requested CCE.
Countries should:
a) Select appropriate 'Equipment model' against the listed equipment types.
b) Fill out the 'Estimated service bundle cost' and 'Number of equipment' requested.
c) For the last 'Total CCE OP Request' table, fill out second and third preference for each model selected. The second and third preference should be comparable products in the similar capacity segments.
4.The 'Equipment make', 'Vaccine capacity', "Freezer gross volume', and 'PQS Indicative Prices' will be populated automatically from the 'Specified CCE Model Price List' worksheet.
5. Prices included for Cold Boxes and Vaccine carriers are estimates. These devices would only be procured when they are PQS Pre-qualified. Exact costs and number of devices may therefore change.
6. All new CCEOP equipment are bundled with a 30DTR and voltage regulator (as appropriate); however countries can choose to purchase RTMDs instead of 30DTR. Countries can also purchase 30DTR or RTMDs and/or a voltage regulators for existing (in-country) equipment (as appropriate).
7. The Platform will support the purchase of spare parts for newly purchased CCEOP, and existing (in-country) ILRs, SDDs, and freezers not older than 5 years at the time of applying for Platform support.
8. A 6% buffer on total equipment cost is built into country joint investment yearly budgets. This amount includes the standard UNICEF Procurement Services buffer to cover increases in costs resulting from currency fluctuations or other costs variables and will be returned to country at the completion of the contract, if unused.
9. Each country will be responsible for paying yearly procurement fees on only the country joint-investment share. Country should consult UNICEF on actual procurement fee (estimated to be up to 8.5%).

## Specified CCE Model Selection
[8 empty] | 2018 |  | 2019 |  | 2020 |  | 2021 |  | 2022 |  | TOTAL |  | Alternative Preferences
Type of equipment | Equipment model | Equipment make | Vaccine capacity (L) | Freezer gross volume (L) | PQS indicative equipment unit price $US | Estimated service bundle cost $US | Total unit cost including service bundle cost $US | Number of equipment | Total amount $US | Number of equipment | Total amount $US | Number of equipment | Total amount $US | Number of equipment | Total amount $US | Number of equipment | Total amount $US | Number of equipment | Total amount $US | Capacity segment (L) | 2nd preference equipment model | 3rd preference equipment model
| Select from dropdown list |  |  |  |  | Enter cost within service bundle price range |  | Enter quantity |  | Enter quantity |  | Enter quantity |  | Enter quantity |  | Enter quantity |  |  |  |  | Select from dropdown list | Select from dropdown list
_1. On grid ILR_without freezer comp. | [17 empty] | 0
_1. On grid ILR_without freezer comp. | [17 empty] | 0
_1. On grid ILR_without freezer comp. | [17 empty] | 0
_1. On grid ILR_without freezer comp. | [17 empty] | 0
_2. On grid ILR_with freezer comp. | [17 empty] | 0
_3. On grid freezers | [17 empty] | 0
_3. On grid freezers | [17 empty] | 0
_3. On grid freezers | [17 empty] | 0
_4. Long term passive devices | [17 empty] | 0
_5. Off grid SDD refrigerators_without freezer comp. | [17 empty] | 0
_5. Off grid SDD refrigerators_without freezer comp. | [17 empty] | 0
_5. Off grid SDD refrigerators_without freezer comp. | [17 empty] | 0
_5. Off grid SDD refrigerators_without freezer comp. | [17 empty] | 0
_6. Off grid SDD refrigerators_with freezer comp. | [17 empty] | 0
_6. Off grid SDD refrigerators_with freezer comp. | [17 empty] | 0
_7. Off grid SDD freezer | [17 empty] | 0
_8. Temperature monitoring device_30DTR | [6 empty] | N/A | [10 empty] | 0
_8. Temperature monitoring device_30DTR | [6 empty] | N/A | [10 empty] | 0
_9. Remote temperature monitoring devices_RTMDs | [17 empty] | 0
_9. Remote temperature monitoring devices_RTMDs | [17 empty] | 0
_10. Freeze free vaccine carriers | [6 empty] | N/A | [10 empty] | 0
_11. Freeze free cold boxes | [6 empty] | N/A | [10 empty] | 0
_12. Voltage regulators for existing equipment | Voltage regulators model | [5 empty] | N/A |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
_13. Spare parts for existing and new CCEOP equipment | Spare parts model | [5 empty] | N/A |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0
Total Equipment Budget | [7 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Country Joint Investment % (20% or 50%) Enter % | [7 empty] | 20% |  | 20% |  | 20% |  | 20% |  | 20% |  | 20%
Country Equipment Budget | [7 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Gavi Equipment Budget | [7 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Total Budget (Incl. 6% Additional Buffer) | [7 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Total Country Budget (Incl. 6% Additional Buffer) | [7 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Total Gavi Budget (Incl. 6% Additional Buffer) | [7 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  |  |  | Procurement Fees as % of Country Joint Investment Budget Per UNICEF (estimated to be up to 8.5%) Enter % |  |  |  | 8.5% |  | 8.5% |  | 8.5% |  | 8.5% |  | 8.5% |  | 8.5%
|  |  |  | Estimated Country Joint Investment Procurement Fees $US |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0

## Specified CCE Model Price List
CCE OP Cold Chain Equipment List and Prices
Index | Type of equipment and source of energy | Capacity segment (L) | Equipment make | Equipment model | Vaccine capacity (L) | Freezer gross volume (L) | Holdover/ Autonomy (days) | PQS indicative equipment unit price $US | Service bundle indicative cost $US (Lower limit) | Service bundle indicative cost $US (Upper limit) | Total unit cost $US (lower limit) | Total unit cost $US (upper limit) |  | Type of equipment
1 | _1. On grid ILR_without freezer comp. | <30L | Zero | ZLF 30 AC | 27 | - | 3.2167 | 1232 | 400 | 1350 | 1632 | 2582 |  | _1. On grid ILR_without freezer comp. | _1.OngridILR_withoutfreezercomp.
2 | _1. On grid ILR_without freezer comp. | 30 - <60L | Godrej & Boyce | GVR 50 AC | 46.8 | - | 7.5833 | 1600 | 400 | 1350 | 2000 | 2950 | 1. Countries should plan with these prices if they request specific CCE make and model | _2. On grid ILR_with freezer comp. | _2.OngridILR_withfreezercomp.
3 | _1. On grid ILR_without freezer comp. | 30 - <60L | Aucma | CFD-50 | 50 | - | 5.625 | 1400 | 400 | 1350 | 1800 | 2750 | 2. Indicative PQS prices are from the most recent WHO PQS price list as of June 27, 2017. Accessible via: | _3. On grid freezers | _3.Ongridfreezers
4 | _1. On grid ILR_without freezer comp. | 30 - <60L | Godrej & Boyce | GVR 51 Lite AC | 51 | - | 2.2917 | 1000 | 400 | 1350 | 1400 | 2350 | WHO PQS Catalogue | _4. Long term passive devices | _4.Longtermpassivedevices
5 | _1. On grid ILR_without freezer comp. | 60 - <90L | Vestfrost | VLS 200A | 60 | - | 2.25 | 847.84 | 400 | 1350 | 1247.84 | 2197.84 | 3. Indicated PQS Unit prices are for planning purposes and are the highest unit prices provided for each equipment | _5. Off grid SDD refrigerators_without freezer comp. | _5.OffgridSDDrefrigerators_withoutfreezercomp.
6 | _1. On grid ILR_without freezer comp. | 60 - <90L | Haier | HBC 80 | 61 | - | 1.325 | 801.6 | 400 | 1350 | 1201.6 | 2151.6 | 4. Service bundle costs are Gavi planning estimates. Lower limit estimates should be used for facilities closest to the distribution point while the upper limit estimates should be used for facilities farthest from the distribution point. | _6. Off grid SDD refrigerators_with freezer comp. | _6.OffgridSDDrefrigerators_withfreezercomp.
7 | _1. On grid ILR_without freezer comp. | 60 - <90L | Godrej & Boyce | GVR 75 Lite AC | 72.5 | - | 3.375 | 1072 | 400 | 1350 | 1472 | 2422 | 5. Exchange rate for USD/Euro used is 1.12 as of June 27, 2017 | _7. Off grid SDD freezer | _7.OffgridSDDfreezer
8 | _1. On grid ILR_without freezer comp. | 90 - <120L | Vestfrost | VLS 300A | 98 | - | 2.3125 | 1019.2 | 400 | 1350 | 1419.2 | 2369.2 |  | _8. Temperature monitoring device_30DTR | _8.Temperaturemonitoringdevice_30DTR
9 | _1. On grid ILR_without freezer comp. | 90 - <120L | Godrej & Boyce | GVR 99 Lite AC | 98.5 | - | 2.4819 | 1150 | 400 | 1350 | 1550 | 2500 |  | _9. Remote temperature monitoring devices_RTMDs | _9.Remotetemperaturemonitoringdevices_RTMDs
10 | _1. On grid ILR_without freezer comp. | 90 - <120L | Zero | ZLF 100 AC | 99 | - | 4.7375 | 2055 | 400 | 1350 | 2455 | 3405 |  | _10. Freeze free vaccine carriers | _10.Freezefreevaccinecarriers
11 | _1. On grid ILR_without freezer comp. | 90 - <120L | Godrej & Boyce | GVR 100 AC | 99 | - | 12.5125 | 2400 | 400 | 1350 | 2800 | 3750 |  | _11. Freeze free cold boxes | _11.Freezefreecoldboxes
12 | _1. On grid ILR_without freezer comp. | >120L | Haier | HBC 150 | 122 | - | 1.2604 | 981.6 | 400 | 1350 | 1381.6 | 2331.6 |  | _12. Voltage regulators for existing equipment | _12.Voltageregulatorsforexistingequipment
13 | _1. On grid ILR_without freezer comp. | >120L | Vestfrost | VLS 350A | 127 | - | 2.2792 | 1133.44 | 400 | 1350 | 1533.44 | 2483.44 |  | _13. Spare parts for existing and new CCEOP equipment | _13.SparepartsforexistingandnewCCEOPequipment
14 | _1. On grid ILR_without freezer comp. | >120L | Zero | ZLF 150 AC | 128 | - | 5.3417 | 2469 | 400 | 1350 | 2869 | 3819
15 | _1. On grid ILR_without freezer comp. | >120L | Vestfrost | VLS 400A | 145 | - | 2.2917 | 1224.16 | 400 | 1350 | 1624.16 | 2574.16
16 | _1. On grid ILR_without freezer comp. | >120L | Dulas Solar | VC 225 ILR | 203.2 | - | 3.9167 | 2948.96 | 400 | 1350 | 3348.96 | 4298.96
17 | _1. On grid ILR_without freezer comp. | >120L | Haier | HBC 260 | 211 | - | 1.4417 | 1131.6 | 400 | 1350 | 1531.6 | 2481.6
18 | _1. On grid ILR_without freezer comp. | >120L | Godrej & Boyce | GVR 225 AC | 225 | - | 2.2917 | 1900 | 400 | 1350 | 2300 | 3250
19 | _1. On grid ILR_without freezer comp. | >120L | B Medical | TCW 4000 AC | 240 | - | 3.2208 | 4039.84 | 400 | 1350 | 4439.84 | 5389.84
20 | _2. On grid ILR_with freezer comp. | 60 - <90L | B Medical | TCW 2000 AC | 60 | 42 | 1.6417 | 3146.08 | 400 | 1350 | 3546.08 | 4496.08
21 | _3. On grid freezers | 90 - <120L | Aucma | DW-25W147 | - | 96 | 0.28056 | 511.6 | 400 | 1350 | 911.6 | 1861.6
22 | _3. On grid freezers | 90 - <120L | Vestfrost | MF 114 | - | 105 | 0.11667 | 533.12 | 400 | 1350 | 933.12 | 1883.12
23 | _3. On grid freezers | >120L | Haier | HBD 116 | - | 121 | 0.10417 | 471.6 | 400 | 1350 | 871.6 | 1821.6
24 | _3. On grid freezers | >120L | Vestfrost | MF 214 | - | 171 | 0.12083 | 610.4 | 400 | 1350 | 1010.4 | 1960.4
25 | _3. On grid freezers | >120L | B Medical | TFW 3000 AC | - | 204 | 2.2153 | 3123.68 | 400 | 1350 | 3523.68 | 4473.68
26 | _3. On grid freezers | >120L | Aucma | DW-25W300 | - | 240 | 2.4417 | 601.6 | 400 | 1350 | 1001.6 | 1951.6
27 | _3. On grid freezers | >120L | Vestfrost | MF 314 | - | 281 | 0.16667 | 703.36 | 400 | 1350 | 1103.36 | 2053.36
28 | _3. On grid freezers | >120L | B Medical | TFW 800 | - | 290 | N/A | 2888.48 | 400 | 1350 | 3288.48 | 4238.48
29 | _3. On grid freezers | >120L | Haier | HBD 286 | - | 298 | 0.17083 | 582.6 | 400 | 1350 | 982.6 | 1932.6
30 | _4. Long term passive devices | <30L | Aucma | ARKTEK-YBC-5 | 5.4 | - | 35 | 2393 | 400 | 1350 | 2793 | 3743
31 | _5. Off grid SDD refrigerators_without freezer comp. | <30L | SunDanzer | BFRV 15 SDD | 15 | - | 4.2213 | 2345 | 650 | 2150 | 2995 | 4495
32 | _5. Off grid SDD refrigerators_without freezer comp. | <30L | B Medical | TCW 15R SDD | 16 | - | 3.4083 | 4753.28 | 650 | 2150 | 5403.28 | 6903.28
33 | _5. Off grid SDD refrigerators_without freezer comp. | <30L | Haier | HTC 40 SDD | 22.5 | - | 4.875 | 2720 | 650 | 2150 | 3370 | 4870
34 | _5. Off grid SDD refrigerators_without freezer comp. | <30L | Vestfrost | VLS 024 SDD | 25.5 | - | 3.4042 | 2932.16 | 650 | 2150 | 3582.16 | 5082.16
35 | _5. Off grid SDD refrigerators_without freezer comp. | <30L | Dulas Solar | VC 30 SDD | 25.5 | - | 3.0063 | 2836.96 | 650 | 2150 | 3486.96 | 4986.96
36 | _5. Off grid SDD refrigerators_without freezer comp. | <30L | Zero | ZLF 30DC SDD | 27 | - | 3.2118 | 3004 | 650 | 2150 | 3654 | 5154
37 | _5. Off grid SDD refrigerators_without freezer comp. | 30 - <60L | B Medical | TCW 40R SDD | 36 | - | 3.4125 | 5420.8 | 650 | 2150 | 6070.8 | 7570.8
38 | _5. Off grid SDD refrigerators_without freezer comp. | 30 - <60L | Godrej & Boyce | GVR 50 DC | 46.5 | - | 5.6167 | 3520 | 650 | 2150 | 4170 | 5670
39 | _5. Off grid SDD refrigerators_without freezer comp. | 30 - <60L | Dulas Solar | VC 50 SDD | 52.5 | - | 3.1 | 3116.96 | 650 | 2150 | 3766.96 | 5266.96
40 | _5. Off grid SDD refrigerators_without freezer comp. | 30 - <60L | SunDanzer | BFRV 55 SDD | 54.5 | - | 3.4785 | 3449 | 650 | 2150 | 4099 | 5599
41 | _5. Off grid SDD refrigerators_without freezer comp. | 30 - <60L | Vestfrost | VLS 054 SDD | 55.5 | - | 3.0167 | 3255.84 | 650 | 2150 | 3905.84 | 5405.84
42 | _5. Off grid SDD refrigerators_without freezer comp. | 30 - <60L | Haier | HTC 110 SDD | 59 | - | 4 | 3020 | 650 | 2150 | 3670 | 5170
43 | _5. Off grid SDD refrigerators_without freezer comp. | 60 - <90L | Dulas Solar | VC 88 SDD | 88 | - | 3.2563 | 4068.96 | 650 | 2150 | 4718.96 | 6218.96
44 | _5. Off grid SDD refrigerators_without freezer comp. | 60 - <90L | B Medical | TCW 3043 SDD | 89 | - | 4.8617 | 6843.2 | 650 | 2150 | 7493.2 | 8993.2
45 | _5. Off grid SDD refrigerators_without freezer comp. | 90 - <120L | Vestfrost | VLS 094 SDD | 92 | - | 3.0208 | 3636.64 | 650 | 2150 | 4286.64 | 5786.64
46 | _5. Off grid SDD refrigerators_without freezer comp. | 90 - <120L | Zero | ZLF 100 DC | 99 | - | 7.0875 | 5323 | 650 | 2150 | 5973 | 7473
47 | _5. Off grid SDD refrigerators_without freezer comp. | 90 - <120L | Godrej & Boyce | GVR 100 DC | 99 | - | 7.3312 | 4885 | 650 | 2150 | 5535 | 7035
48 | _5. Off grid SDD refrigerators_without freezer comp. | 90 - <120L | Dulas Solar | VC 110 SDD | 110 | - | 3.2563 | 4180.96 | 650 | 2150 | 4830.96 | 6330.96
49 | _5. Off grid SDD refrigerators_without freezer comp. | >120L | Zero | ZLF 150DC | 128 | - | 4.4958 | 5745 | 650 | 2150 | 6395 | 7895
50 | _5. Off grid SDD refrigerators_without freezer comp. | >120L | Dulas Solar | VC 200 SDD | 132 | - | 3.3118 | 4292.96 | 650 | 2150 | 4942.96 | 6442.96
51 | _5. Off grid SDD refrigerators_without freezer comp. | >120L | Vestfrost | VLS 154 SDD | 170 | - | 3.0583 | 4576.32 | 650 | 2150 | 5226.32 | 6726.32
52 | _6. Off grid SDD refrigerators_with freezer comp. | <30L | B Medical | TCW 15 SDD | 16 | 2.4 | 3.5 | 4790.24 | 650 | 2150 | 5440.24 | 6940.24
53 | _6. Off grid SDD refrigerators_with freezer comp. | 30 - <60L | B Medical | TCW 40 SDD | 36 | 4.8 | 3.4125 | 5912.48 | 650 | 2150 | 6562.48 | 8062.48
54 | _6. Off grid SDD refrigerators_with freezer comp. | 30 - <60L | Haier | HTCD 90 SDD | 37.5 | 32 | 4.7875 | 4520 | 650 | 2150 | 5170 | 6670
55 | _6. Off grid SDD refrigerators_with freezer comp. | 30 - <60L | Dulas Solar | VC 60 SDD | 57 | 24 | 3.4583 | 5356.96 | 650 | 2150 | 6006.96 | 7506.96
56 | _6. Off grid SDD refrigerators_with freezer comp. | 60 - <90L | B Medical | TCW 2043 SDD | 70 | 42 | 3.0792 | 9136.96 | 650 | 2150 | 9786.96 | 11286.96
57 | _6. Off grid SDD refrigerators_with freezer comp. | 90 - <120L | Haier | HTCD 160 SDD | 100 | 40 | 5.0604 | 6320 | 650 | 2150 | 6970 | 8470
58 | _6. Off grid SDD refrigerators_with freezer comp. | 90 - <120L | Dulas Solar | VC 150 SDD | 102 | 42.9 | 3.2496 | 6308.96 | 650 | 2150 | 6958.96 | 8458.96
59 | _7. Off grid SDD freezer | 30 - <60L | Haier | HTD 40 SDD | - | 48 | 5 | 2920 | 650 | 2150 | 3570 | 5070
60 | _7. Off grid SDD freezer | 60 - <90L | B Medical | TFW 40 SDD | - | 64 | 5 | 5912.48 | 650 | 2150 | 6562.48 | 8062.48
61 | _8. Temperature monitoring device_30DTR | - | Haier | HETL-01 | - | - | - | 23 | 0 | 0 | 23 | 23 | *All new CCEOP equipment includes 30DTR. This is individual purchasing for existing equipment
62 | _8. Temperature monitoring device_30DTR | - | LogTag | TRIX-8 | - | - | - | 29.592 | 0 | 0 | 29.592 | 29.592
63 | _8. Temperature monitoring device_30DTR | - | LogTag | VaxTag 30DTR | - | - | - | 40.8 | 0 | 0 | 40.8 | 40.8
64 | _8. Temperature monitoring device_30DTR | - | Berlinger | Fridge-Tag 2 | - | - | - | 44 | 0 | 0 | 44 | 44
65 | _8. Temperature monitoring device_30DTR | - | Berlinger | Fridge-Tag 2 E | - | - | - | 73 | 0 | 0 | 73 | 73
66 | _8. Temperature monitoring device_30DTR | - | ELPRO-BUCHS AG | LIBERO Ti1 | - | - | - | 150 | 0 | 0 | 150 | 150
67 | _9. Remote temperature B29`monitoring devices_RTMDs | - | Schechter Tech | Temperature@lert | - | - | - | 1585 | 200 | 400 | 1785 | 1985 | * ILR & SDD: 5 Year total costs including 0 USD of intial equipment cost, and 317 USD per year of recurring annual fees. Countries still need to pay recurring fees from MoH budget after the first 5 years
68 | _9. Remote temperature B29`monitoring devices_RTMDs | - | Beyond Wireless | ICE3 (Model BC140) | - | - | - | 2160 | 200 | 400 | 2360 | 2560 | * ILR & SDD: 5 Year total costs: including 335 USD of intial equipment cost, and 365 USD per year of recurring annual fees. Countries still need to pay recurring fees from MoH budget after the first 5 years
69 | _9. Remote temperature B29`monitoring devices_RTMDs | - | Nexleaf | ColdTrace 5 (CT5) | - | - | - | 630 | 200 | 400 | 830 | 1030 | * ILR & SDD: 5 Year total costs: including 290 USD of intial equipment cost, 67 USD per year of recurring annual fees, 5 USD for battery replacement. Countries still need to pay recurring fees from MoH budget after the first 5 years
70 | _9. Remote temperature B29`monitoring devices_RTMDs | - | Berlinger | Fridge-tag 3 GSM | - | - | - | 964 | 200 | 400 | 1164 | 1364 | * ILR & SDD: 5 Year total costs: including 219 USD of intial equipment cost, 144 USD per year of recurring annual fees, 25 USD for battery replacement. Countries still need to pay recurring fees from MoH budget after the first 5 years
71 | _10. Freeze free vaccine carriers | <5L | Vaccine carriers: make TBD | Vaccine carriers: model TBD | 1-5L | - | > 30 hours | 60 | 0 | 0 | 60 | 60
72 | _11. Freeze free cold boxes | >5L | Cold boxes: make TBD | Cold boxes: model TBD | 5-25L | - | >48 hours | 400 | 0 | 0 | 400 | 400
73 | _12. Voltage regulators for existing equipment | - | - | Voltage regulators model | - | - | - | - | 0 | 0 | - | - | *All new CCEOP equipment includes voltage regulators. This is individual purchasing for existing equipment
74 | _13. Spare parts for existing and new CCEOP equipment | - | - | Spare parts model | - | - | - | - | 0 | 0 | - | -