## Cover Page and Instructions
Gavi Cold Chain Optimisation Platform (CCE OP)
Country
Links to spreadsheets in this file
CCE Options Summary'
Options CCE Model Selection'
Specified CCE Model Price List'
What is new under the Gavi CCEOP for Gavi 5.0
a) Countries can only apply for a maximum of 3 years to reduce end to end timelines for infrastructural investments
b) Countries only have three options of liter capacity bands for equipment; 0 -60L, 60L - 120L, and >120L
c) Countries can procure new equipment that is bundled with RTMDs and annual data subscriptions
d) Countries must apply for RTMDs for newly procured equipment targeted for the national, regional, and district level to enhance CCE performance monitoring
e) Countries can apply for RTMDs for existing in-country equipment at the national, regional, and district level
f) Countries can apply for annual subscription of data for existing RTMDs for only one year
g) Countries can apply for in-person or remote RTMD trainings (including refresher trainings to be included in the current strategic period). The refresher training(s) can be undertaken 12 to 24 months following the initial training
h) Countries can apply upfront for refresher trainings
Instructions
This template should be filled by ALL countries applying for Platform support. All 3 CCE model options under the Options_CCE Model Selection tab must be completed for the application to be considered as complete.
The 'Specified CCE Model Price List' spreadsheet provides an overview of the planning prices per equipment type: 'Indicative equipment unit price' + 'Service bundle estimates'. Countries are NOT expected to fill this sheet.
a) For budget planning purposes, service bundle estimates are: On-grid equipment: $850-$1350, Off-grid equipment: $1750-$2150 (ground mount panels), $1750- $4000 (pole mount panels) Remote temperature monitoring devices (RTMDs): $200-$400
b) For budget planning purposes, international freight should be budgeted for per unit as per the budget estimates provided on the 'Options_CCE Model Selection' tab, depending on destination - sea port delivery versus landlocked countries
c) Countries should plan their budgets with the service bundle lower limit estimates (e.g. $850 for on-grid equipment) for CCE to be installed in health facilities with low costs of in-country transportation (e.g. short times, high-quality infrastructure), the upper limit estimates (e.g. $2150 for off-grid equipment) for CCE to be installed in health facilities with high costs of in-country transportation (e.g. long travel times, low quality infrastructure) and in-between estimates, as appropriate. Small order quantities may call for budgets towards the upper limits.
The 'Options_CCE Model selection' spreadsheet should be used to build the budget for (total) requested CCE.
COUNTRY ACTION -> In this sheet, countries should:
a) Select appropriate 'Capacity segment' against the listed capacity setments.
b) Select appropriate 'Equipment model' against the listed equipment types.
c) Fill out the 'Estimated service bundle cost' and 'Number of equipment' requested.
d) Countries should only fill out planned procurements for a maximum of 3 years as designed in the 'Options_CCE Model Selection' spreadsheet
e) Plan for CCEOP 1, 2, or a max of 3 years to reduce lead times associated with implementation of infrastructural investments
f) Uniform quantities for all budget options are to be indicated to specify actual CCE need to UNICEF
g) Country must select CCE it is willing to receive and deploy
h) Where less than 3 models options exist for a particular capacity range, country can maintain same model allocation or select another capacity range
i) Countries must make sure to fill out all required information in Option A cells to active the Option B cells
ADDITIONAL DETAILS
- The 'Equipment make', 'Vaccine capacity', "Freezer gross volume', and 'Indicative Prices' will be populated automatically from the 'Specified CCE Model Price List' worksheet.
- All new CCEOP equipment are bundled with a 30DTR and voltage regulator (as appropriate) and these need not be separately requested in the budget template. However, countries need to specifically request for 30 DTR or RTMDs and/or voltage regulators in the line items of the template if purchased for existing (in-country) equipment (as appropriate) or if they choose to purchase RTMDs instead of 30DTR.
- The Platform will support the purchase of spare parts for newly purchased CCEOP, and existing (in-country) ILRs, SDDs, and freezers not older than 5 years at the time of applying for Platform support. Spare parts prices will be auto-populated once a spare part type has been selected
- A 6% buffer on total equipment cost is built into country joint investment and Gavi joint investment yearly budgets. This will cover currency variations, demurrage and associated costs and will be returned to country, if unused.
- Each country will be responsible for paying (UNICEF) procurement fees on country joint-investment share along with the international freight. Procurement fee should be 8 or 8.5%.
The 'CCE Options Summary' spreadsheet should be used to compare the total budgets across the selected CCE Model Options
In this sheet Section 1, is auto-populated based on the country inputs mentioned in 'Options_CCE Model selection' spreadsheet.
- Total CCE units for procurement (ILR+SDD) compares the total number of ILR and SDD units that are procured under Options A, B and C
- Total budget (All devices) compares the total cost of CCE procurement for all device procurements (incl 6% buffer, freight charges and UNICEF procurement fees) under each option and highlights the most cost-effective option on an average $/CCE basis.
b) Explain rationale for selecting final CCE Model Option (cell A18)
1
2
3
4

## CCE Options Summary
Summary comparison of country choices
The purpose of this sheet is to enable decision makers to compare the cost implications of the CCE selection options entered in the CCE Selection sheets. The total units and cost ( cells C10-E15) are auto-populated from inputs in the worksheet (Options_CCE Model Selection).
Comparing cost effectiveness of CCE model options
| Option A | Option B | Option C
Quantities Per Option
Total CCE units for procurement (ILR+SDD) | 0 | 0 | 0
Buget Breakdown
Total Country Joint Investment* | 0 | 0 | 0
Country Joint Investment procurement fees** | 0 | 0 | 0
Total Gavi Joint Investment*** | 0 | 0 | 0
Total budget request (All devices)**** | 0 | 0 | 0
*Total country joint investment row represents the total budget for the country including equipment costs, buffer, international freight, and UNICEF procurement fees for each option
**These fees are to be paid by the country to UNICEF when the COP and Cost Estimates is approved and funds are disbursed
***Total Gavi joint investment row represents Gavi joint investment which covers equipment costs, service bundle costs, buffer, and international freight. Gavi joint investment procurement fees are paid by Gavi directly to UNICEF SD
****Total budget request covers Gavi joint investment, country joint investment, and country joint investment procurement fees. This is the total budget requested for by the country
Section 2: Please explain the rationale for selecting the final option below

## Options_CCE Model Selection
[9 empty] | OPTION A | [7 empty] | OPTION B | [12 empty] | OPTION C
[9 empty] | YEAR 1 |  | YEAR 2 |  | YEAR 3 |  | TOTAL | [6 empty] | YEAR 1 |  | YEAR 2 |  | YEAR 3 |  | TOTAL | [5 empty] | YEAR 1 |  | YEAR 2 |  | YEAR 3 |  | TOTAL
[9 empty] | Select year | 2023 | Select year | 2024 | Select year | 2025 | [7 empty] | Select year | 2023 | Select year | 2024 | Select year | 2025 | [6 empty] | Select year | 2023 | Select year | 2024 | Select year | 2025
Type of equipment | Capacity segment | Equipment model | Equipment make | Vaccine capacity (L) | Freezer gross volume (L) | Indicative equipment unit price $US | Estimated service bundle cost $US | Total unit cost including service bundle cost $US | Number of equipment | Year 1 Total amount $US | Number of equipment | Year 2 Total amount $US | Number of equipment | Year 3 Total amount $US | Total number of equipment | Total amount $US | Equipment model | Equipment make | Indicative equipment unit price $US | Total unit cost including service bundle cost $US |  | Number of equipment | Year 1 Total amount $US | Number of equipment | Year 2 Total amount $US | Number of equipment | Year 3 Total amount $US | Total number of equipment | Total amount $US | Equipment model | Equipment make | Indicative equipment unit price $US | Total unit cost including service bundle cost $US | Number of equipment | Year 1 Total amount $US | Number of equipment | Year 2 Total amount $US | Number of equipment | Year 3 Total amount $US | Total number of equipment | Total amount $US
| Select from dropdown list | Select from dropdown list |  |  |  |  | Enter cost within service bundle price range |  | Enter quantity |  | Enter quantity |  | Enter quantity |  |  |  | Select from dropdown list |  |  |  |  | Enter quantity |  | Enter quantity |  | Enter quantity |  | Enter quantity |  | Select from dropdown list |  |  |  | Enter quantity |  | Enter quantity |  | Enter quantity
_1. On grid ILR_without freezer comp | [14 empty] | 0 | [5 empty] | _1. | [6 empty] | 0 | [11 empty] | 0
_1. On grid ILR_without freezer comp | [14 empty] | 0 | [5 empty] | _1. | [6 empty] | 0 | [11 empty] | 0
_1. On grid ILR_without freezer comp | [14 empty] | 0 | [5 empty] | _1. | [6 empty] | 0 | [11 empty] | 0
_2. On grid ILR_with freezer comp | [14 empty] | 0 | [5 empty] | _2. | [6 empty] | 0 | [11 empty] | 0
_2. On grid ILR_with freezer comp | [14 empty] | 0 | [5 empty] | _2. | [6 empty] | 0 | [11 empty] | 0
_3. On grid freezers | [14 empty] | 0 | [5 empty] | _3. | [6 empty] | 0 | [11 empty] | 0
_3. On grid freezers | [14 empty] | 0 | [5 empty] | _3. | [6 empty] | 0 | [11 empty] | 0
_4. Off grid SDD refrigerators_without freezer comp | [14 empty] | 0 | [5 empty] | _4. | [6 empty] | 0 | [11 empty] | 0
_4. Off grid SDD refrigerators_without freezer comp | [14 empty] | 0 | [5 empty] | _4. | [6 empty] | 0 | [11 empty] | 0
_4. Off grid SDD refrigerators_without freezer comp | [14 empty] | 0 | [5 empty] | _4. | [6 empty] | 0 | [11 empty] | 0
_5. Off grid SDD refrigerators_with freezer comp | [14 empty] | 0 | [5 empty] | _5. | [6 empty] | 0 | [11 empty] | 0
_5. Off grid SDD refrigerators_with freezer comp | [14 empty] | 0 | [5 empty] | _5. | [6 empty] | 0 | [11 empty] | 0
_5. Off grid SDD refrigerators_with freezer comp | [14 empty] | 0 | [5 empty] | _5. | [6 empty] | 0 | [11 empty] | 0
_6. Off grid SDD freezer | [14 empty] | 0 | [5 empty] | _6. | [6 empty] | 0 | [11 empty] | 0
_6. Off grid SDD freezer | [14 empty] | 0 | [5 empty] | _6. | [6 empty] | 0 | [11 empty] | 0
_7. Existing CCE Temperature monitoring device_30DTR | [14 empty] | 0 | [5 empty] | _7. | [6 empty] | 0 | [11 empty] | 0
_8.Remote temperature monitoring devices_RTMDs | [14 empty] | 0 | [5 empty] | _8. | [6 empty] | 0 | [11 empty] | 0
_8.Remote temperature monitoring devices_RTMDs | [14 empty] | 0 | [5 empty] | _8. | [6 empty] | 0 | [11 empty] | 0
_9.Long term passive devices | [14 empty] | 0 | [5 empty] | _9. | [6 empty] | 0 | [11 empty] | 0
_10. Freeze free vaccine carriers | [14 empty] | 0 | [5 empty] | _10 | [6 empty] | 0 | [11 empty] | 0
_11. Freeze free cold boxes | [14 empty] | 0 | [5 empty] | _11 | [6 empty] | 0 | [11 empty] | 0
_12. Voltage regulators for equipment | [14 empty] | 0 | [5 empty] | _12 | [6 empty] | 0 | [11 empty] | 0
_13. Ice packs | [14 empty] | 0 | [5 empty] | _13 | [6 empty] | 0 | [11 empty] | 0
_14.Spare parts New On grid ILR_without freezer comp | [14 empty] | 0 | [5 empty] | _14 | [6 empty] | 0 | [11 empty] | 0
_15.Spare parts New On grid ILR_with freezer comp | [14 empty] | 0 | [5 empty] | _15 | [6 empty] | 0 | [11 empty] | 0
_16.Spare parts New On grid freezers | [14 empty] | 0 | [5 empty] | _16 | [6 empty] | 0 | [11 empty] | 0
_17.Spare parts New Off grid SDD refrigerators_without freezer comp | [14 empty] | 0 | [5 empty] | _17 | [6 empty] | 0 | [11 empty] | 0
_18.Spare parts New Off grid SDD refrigerators_with freezer comp | [14 empty] | 0 | [5 empty] | _18 | [6 empty] | 0 | [11 empty] | 0
_19.Spare parts New Off grid SDD freezer | [14 empty] | 0 | [5 empty] | _19 | [6 empty] | 0 | [11 empty] | 0
_20.Annual Data Subscription renewals for Existing RTMDs | [14 empty] | 0 | [5 empty] | _20 | [6 empty] | 0 | [11 empty] | 0
_21.Training In person | [14 empty] | 0 | [5 empty] | _21 | [6 empty] | 0 | [11 empty] | 0
_22.Training Remote | [14 empty] | 0 | [5 empty] | _22 | [6 empty] | 0 | [11 empty] | 0
_22.Training Remote | [14 empty] | 0 | [5 empty] | _22 | [6 empty] | 0 | [11 empty] | 0
Total Equipment Budget | [8 empty] | 0 |  | 0 |  | 0 |  | 0 | [6 empty] | 0 |  | 0 |  | 0 |  | 0 | [5 empty] | 0 |  | 0 |  | 0 |  | 0
Country Joint Investment % (20% or 50%) Enter % | [10 empty] | 0% |  | 0% | [7 empty] | Tot |  |  | 0% |  | 0% | [9 empty] | 0% |  | 0%
Country Equipment Budget | [8 empty] | 0 |  | 0 |  | 0 |  | 0 | [6 empty] | 0 |  | 0 |  | 0 |  | 0 | [5 empty] | 0 |  | 0 |  | 0 |  | 0
Gavi Equipment Budget | [8 empty] | 0 |  | 0 |  | 0 |  | 0 | [6 empty] | 0 |  | 0 |  | 0 |  | 0 | [5 empty] | 0 |  | 0 |  | 0 |  | 0
FREIGHT CALCULATIONS PER ANNUM | [14 empty] | OPTION A |  | OPTION B | OPTION C
International Freight per unit (ILRs and SDDs- Categories 1- 6) | [14 empty] | 280 |  | 280 | 280
International Freight - flat fee (TMD - Category 7) | [14 empty] | 1500 |  | 1500 | 1500
International Freight - flat fee (RTMD- Category 8) | [14 empty] | 600 |  | 600 | 600
International Freight per unit (Vaccine carriers- Category 9) | [14 empty] | 2 |  | 2 | 2
International Freight per unit (Cold boxes - Category 10) | [14 empty] | 20 |  | 20 | 20
International Freight - flat fee (Voltage regulators- Category 11) | [14 empty] | 2000 |  | 2000 | 2000
International Freight per unit (Ice packs- Category 12) | [14 empty] | 0.1 |  | 0.1 | 0.1
Total estimated International Freight Fees $US | [14 empty] | 0 |  | 0 | 0
[15 empty] | OPTION A |  | OPTION B | OPTION C
Total Budget Request (Incl. 6% Additional Buffer and International Freight) | [14 empty] | 0 |  | 0 | 0
Country Joint Investment (excluding procurement fees) | [14 empty] | 0 |  | 0 | 0
Gavi Joint Investment | [14 empty] | 0 |  | 0 | 0
Country procurement fee percentage ( % of Country Joint Investment Budget Per UNICEF: 8% or 8.5%) Select %
Estimated Country Budget Procurement Fees $US (based on total equipment budget) | [14 empty] | 0 |  | 0 | 0
Total Country Budget (Including 6% additional buffer, International Freight, and UNICEF Procurement fees) $US | [14 empty] | 0 |  | 0 | 0
Total Gavi Budget (Including 6% additional buffer, and International Freight) $US | [14 empty] | 0 |  | 0 | 0
Note on A64: Jalia Nanfuka (Consultant): Remove row as we don’t reflect procurement fees here. This line is the same as row 58

## Specified CCE Model Price List
Cold Chain Equipment List and Prices
[9 empty] | Refer to these columns for on-grid device SB ranges and ground mounted solar panel installations |  | Refer to these columns for pole mounted solar panel installations
Index | Type of equipment and source of energy | Capacity segment (L) | Equipment make | Equipment model | Vaccine capacity (L) | Freezer gross volume (L) | Holdover/ Autonomy (days) | Indicative equipment unit price $US | Service bundle indicative cost $US (Lower limit with Ground Mounts for Solar panels) | Service bundle indicative cost $US (Upper limit with ground mounted solar panels for SDD) | Service bundle indicative cost $US (Lower limit Pole mounts) | Service bundle indicative cost $US (Upper limit with Pole Mounts ) | Total unit cost $US (lower limit ILR+ Ground mount) | Total unit cost $US (upper limit ILR+ Ground mount) |  | Type of equipment | Solar Panel Mounting
1 | _1. On grid ILR_without freezer comp | - <60L | B Medical | TCW 40R AC | 36.5 | - | 5.0792 | 3677.4 | 850 | 1350 | NA | NA | 4077.4 | 5027.4 | 1. Countries should plan with these prices if they request specific CCE make and model
2 | _1. On grid ILR_without freezer comp | - <60L | Godrej & Boyce | GVR 51 Lite AC | 51 | - | 3.7 | 1024 | 850 | 1350 | NA | NA | 1424 | 2374
3 | _1. On grid ILR_without freezer comp | - <60L | Godrej & Boyce | GVR 51 Lite AC with RTMS (Bey. Wire. ICE3 BC141 bundled) | 51 | - | 3.7 | 2524 | 850 | 1350 | NA | NA | 2924 | 3874 | 2. Indicative PQS prices are from the most recent WHO PQS price list as of September 2021. Accessible via:
4 | _1. On grid ILR_without freezer comp | - <60L | Vestfrost | VLS 174A AC | 60 | - | 2.4 | 1476.635 | 850 | 1350 | NA | NA | 1876.635 | 2826.635
5 | _1. On grid ILR_without freezer comp | - <60L | Vestfrost | VLS 174A AC with RTMS (own integrated) | 60 | - | 2.4 | 2685.635 | 850 | 1350 | NA | NA | 3085.635 | 4035.635 | WHO PQS Catalogue
6 | _1. On grid ILR_without freezer comp | 60 - <120L | Haier | HBC 80 | 61 | - | 2.5 | 810 | 850 | 1350 | NA | NA | 1210 | 2160
7 | _1. On grid ILR_without freezer comp | 60 - <120L | Haier | HBC 80 with RTMS (Haier U-Cool bundled) | 61 | - | 2.5 | 1270 | 850 | 1350 | NA | NA | 1670 | 2620 | 3. Indicated PQS Unit/UNICEF LTA prices are for planning purposes and are the highest unit prices provided for each equipment
8 | _1. On grid ILR_without freezer comp | 60 - <120L | Godrej & Boyce | GVR 75 Lite AC | 72.5 | - | 3.4 | 1052 | 850 | 1350 | NA | NA | 1452 | 2402
9 | _1. On grid ILR_without freezer comp | 60 - <120L | Godrej & Boyce | GVR 75 Lite AC with RTMS (Bey. Wire. ICE3 BC141 bundled) | 72.5 | - | 3.4 | 2552 | 850 | 1350 | NA | NA | 2952 | 3902 | 4. Service bundle costs are Gavi planning estimates. Lower limit estimates should be used for facilities closest to the distribution point while the upper limit estimates should be used for facilities farthest from the distribution point.
10 | _1. On grid ILR_without freezer comp | 60 - <120L | B Medical | TCW 80 AC | 80.5 | - | 3.0063 | 3960.015 | 850 | 1350 | NA | NA | 4360.015 | 5310.015
11 | _1. On grid ILR_without freezer comp | 60 - <120L | Vestfrost | VLS 304A AC | 98 | - | 2.2708 | 1677.53 | 850 | 1350 | NA | NA | 2077.53 | 3027.53 | *Purchases for 30DTRs should be limited to equipment storing Covid vaccine only
12 | _1. On grid ILR_without freezer comp | 60 - <120L | Vestfrost | VLS 304A AC with RTMS (Own integrated) | 98 | - | 2.2708 | 2886.53 | 850 | 1350 | NA | NA | 3286.53 | 4236.53 | *Purchases for voltage regulators is limited to equipment storing Covid vaccines only
13 | _1. On grid ILR_without freezer comp | 60 - <120L | Vestfrost | VLS 204A AC | 60 | - | 2.3 | 1532.25 | 850 | 1350 | NA | NA | 1932.25 | 2882.25
14 | _1. On grid ILR_without freezer comp | 60 - <120L | Vestfrost | VLS 204A AC with RTMS (Own integrated) | 60 | - | 2.3 | 2741.25 | 850 | 1350 | NA | NA | 3141.25 | 4091.25
15 | _1. On grid ILR_without freezer comp | 60 - <120L | Godrej & Boyce | GVR 99 Lite AC | 98.5 | - | 2.4819 | 1095 | 850 | 1350 | NA | NA | 1495 | 2445
16 | _1. On grid ILR_without freezer comp | 60 - <120L | Godrej & Boyce | GVR 99 Lite AC with RTMS (Bey. Wire. ICE3 BC141 bundled) | 98.5 | - | 2.4819 | 2595 | 850 | 1350 | NA | NA | 2995 | 3945
17 | _1. On grid ILR_without freezer comp | 60 - <120L | Haier | HBC-120 | 100 | - | 5.3667 | 1765 | 850 | 1350 | NA | NA | 2165 | 3115
18 | _1. On grid ILR_without freezer comp | 60 - <120L | Haier | HBC-120 with RTMS (Haier U-Cool bundled) | 100 | - | 5.3667 | 2225 | 850 | 1350 | NA | NA | 2625 | 3575
19 | _1. On grid ILR_without freezer comp | >120L | Vestfrost | VLS 504A AC | 242 | - | 2.3 | 2587.8 | 850 | 1350 | NA | NA | 2987.8 | 3937.8
20 | _1. On grid ILR_without freezer comp | >120L | Vestfrost | VLS 504A AC with RTMS (Own integrated) | 242 | - | 2.3 | 3796.8 | 850 | 1350 | NA | NA | 4196.8 | 5146.8
21 | _1. On grid ILR_without freezer comp | >120L | Dulas Solar | VC 225 ILR | 203.2 | - | 3.9167 | 3688.75 | 850 | 1350 | NA | NA | 4088.75 | 5038.75
22 | _1. On grid ILR_without freezer comp | >120L | Dulas Solar | VC 225 ILR with RTMS (B Wireless ICE3 BC141) | 203.2 | - | 3.9167 | 4761.325 | 850 | 1350 | NA | NA | 5161.325 | 6111.325
23 | _1. On grid ILR_without freezer comp | >120L | Haier | HBC 260 | 211 | - | 2.6 | 1320 | 850 | 1350 | NA | NA | 1720 | 2670
24 | _1. On grid ILR_without freezer comp | >120L | Haier | HBC 260 with RTMS (Haier U-Cool bundled) | 211 | - | 2.6 | 1780 | 850 | 1350 | NA | NA | 2180 | 3130
25 | _1. On grid ILR_without freezer comp | >120L | Godrej & Boyce | GVR 225 AC | 225 | - | 2.2917 | 1280 | 850 | 1350 | NA | NA | 1680 | 2640
26 | _1. On grid ILR_without freezer comp | >120L | Godrej & Boyce | GVR 225 AC with RTMS (Bey. Wire. ICE3 BC141 bundled) | 225 | - | 2.2917 | 2780 | 850 | 1350 | NA | NA | 3180 | 4130
27 | _1. On grid ILR_without freezer comp | >120L | B Medical | TCW 4000 AC | 240 | - | 3.2208 | 5260.725 | 850 | 1350 | NA | NA | 5660.725 | 6610.725
28 | _1. On grid ILR_without freezer comp | >120L | Coolfinity | Coolfinity IceVolt 300P | 241 | - | 0.9 | 2587.8 | 850 | 1350 | NA | NA | 2987.8 | 3937.8
29 | _1. On grid ILR_without freezer comp | >120L | Coolfinity | Coolfinity IceVolt 300P with RTMS (Fridge Tag 3 bundled) | 241 | - | 0.9 | 4680.74 | 850 | 1350 | NA | NA | 5080.74 | 6030.74
30 | _2. On grid ILR_with freezer comp | - <60L | Haier | HBCD - 90 | 30 | 32 | 2.6583 | 1520 | 850 | 1350 | NA | NA | 1920 | 2870
31 | _2. On grid ILR_with freezer comp | - <60L | Haier | HBCD - 90 with RTMS (Haier U-Cool bundled) | 30 | 32 | 2.6583 | 1980 | 850 | 1350 | NA | NA | 2380 | 3330
32 | _2. On grid ILR_with freezer comp | - <60L | Godrej & Boyce | GVR 55 FF AC | 58 | 44 | 4.734 | 1405 | 850 | 1350 | NA | NA | 1805 | 2755
33 | _2. On grid ILR_with freezer comp | - <60L | Godrej & Boyce | GVR 55 FF AC with RTMS (Bey. Wire. ICE3 BC141 bundled) | 58 | 44 | 4.734 | 2905 | 850 | 1350 | NA | NA | 3305 | 4255
34 | _2. On grid ILR_with freezer comp | - <60L | Vestfrost | VLS 064 RF AC | 52.5 | 5.1 | 2 | 1666.18 | 850 | 1350 | NA | NA | 2066.18 | 3016.18
35 | _2. On grid ILR_with freezer comp | - <60L | Vestfrost | VLS 064 RF AC with RTMS (Own integrated) | 52.5 | 5.1 | 2 | 2875.18 | 850 | 1350 | NA | NA | 3275.18 | 4225.18
36 | _2. On grid ILR_with freezer comp | 60 - <120L | B Medical | TCW120AC | 120 | 28 | 3 | 5571.715 | 850 | 1350 | NA | NA | 5971.715 | 6921.715
37 | _3. On grid freezers | 60 - <120L | Aucma | DW-25W147 | - | 96 | 0.28056 | 623 | 850 | 1350 | NA | NA | 1023 | 1973
38 | _3. On grid freezers | 60 - <120L | Aucma | DW-25W147 with RTMS (Bey. Wire. ICE3 BC141 bundled) | - | 96 | 0.28056 | 1833 | 850 | 1350 | NA | NA | 2233 | 3183
39 | _3. On grid freezers | 60 - <120L | Haier | HBD-86 | - | 97 | 0.2 | 1144 | 850 | 1350 | NA | NA | 1544 | 2494
40 | _3. On grid freezers | 60 - <120L | Haier | HBD-86 with RTMS (Bey. Wire. ICE3 BC141 bundled) | - | 97 | 0.2 | 1604 | 850 | 1350 | NA | NA | 2004 | 2954
41 | _3. On grid freezers | >120L | Aucma | DW-25W300 | - | 240 | 2.4417 | 713 | 850 | 1350 | NA | NA | 1113 | 2063
42 | _3. On grid freezers | >120L | Aucma | DW-25W300 with RTMS (Bey. Wire. ICE3 BC141 bundled) | - | 240 | 2.4417 | 1923 | 850 | 1350 | NA | NA | 2323 | 3273
43 | _3. On grid freezers | >120L | Vestfrost | MF 314 | - | 281 | 0.16667 | 1246.23 | 850 | 1350 | NA | NA | 1646.23 | 2596.23
44 | _3. On grid freezers | >120L | Vestfrost | MF 314 with RTMS (Own integrated) | - | 281 | 0.16667 | 2455.23 | 850 | 1350 | NA | NA | 2855.23 | 3805.23
45 | _3. On grid freezers | >120L | Haier | HBD-265 | - | 258 | 0.2 | 1514 | 850 | 1350 | NA | NA | 1914 | 2864
46 | _3. On grid freezers | >120L | Haier | HBD-265 with RTMS (Haier U-Cool bundled) | - | 258 | 0.2 | 1974 | 850 | 1350 | NA | NA | 2374 | 3324
47 | _3. On grid freezers | >120L | Godrej & Boyce | GMF 200 ECO | - | 216 | 0.17083 | 835 | 850 | 1350 | NA | NA | 1235 | 2185
48 | _3. On grid freezers | >120L | Godrej & Boyce | GMF 200 ECO with RTMS (Bey. Wire. ICE3 BC141 bundled) | - | 216 | 0.17083 | 2335 | 850 | 1350 | NA | NA | 2735 | 3685
49 | _3. On grid freezers | 60 - <120L | Vestfrost | MF 114 | - | 105 | 0.11667 | 1047.605 | 850 | 1350 | NA | NA | 1447.605 | 2397.605
50 | _3. On grid freezers | 60 - <120L | Vestfrost | MF 114 with RTMS (Own integrated) | - | 105 | 0.11667 | 2256.605 | 850 | 1350 | NA | NA | 2656.605 | 3606.605
51 | _4. Off grid SDD refrigerators_without freezer comp | - <60L | B Medical | TCW 40R SDD | 36 | - | 3.4125 | 6033.66 | 1750 | 2150 | 1750 | 4000 | 6433.66 | 7383.66
52 | _4. Off grid SDD refrigerators_without freezer comp | - <60L | Godrej & Boyce | GVR 50 DC | 46.5 | - | 5.6167 | 3285 | 1750 | 2150 | 1750 | 4000 | 3685 | 4635
53 | _4. Off grid SDD refrigerators_without freezer comp | - <60L | Godrej & Boyce | GVR 50 DC with RTMS (Bey. Wire. ICE3 BC141 bundled) | 46.5 | - | 5.6167 | 4785 | 1750 | 2150 | 1750 | 4000 | 5185 | 6135
54 | _4. Off grid SDD refrigerators_without freezer comp | - <60L | Aucma | CFD-50 SDD | 50 | - | 5 | 3060 | 1750 | 2150 | 1750 | 4000 | 3460 | 4410
55 | _4. Off grid SDD refrigerators_without freezer comp | - <60L | Aucma | CFD-50 SDD with RTMS (Bey. Wire. ICE3 BC141 bundled) | 50 | - | 5 | 4270 | 1750 | 2150 | 1750 | 4000 | 4670 | 5620
56 | _4. Off grid SDD refrigerators_without freezer comp | - <60L | Dulas Solar | VC 50 SDD | 52.5 | - | 3.1 | 3160.975 | 1750 | 2150 | 1750 | 4000 | 3560.975 | 4510.975
57 | _4. Off grid SDD refrigerators_without freezer comp | - <60L | Dulas Solar | VC 50 SDD with RTMS (B Wireless ICE3 BC141) | 52.5 | - | 3.1 | 4233.55 | 1750 | 2150 | 1750 | 4000 | 4633.55 | 5583.55
58 | _4. Off grid SDD refrigerators_without freezer comp | - <60L | Vestfrost | VLS 054A SDD | 55.5 | - | 3.0167 | 3420.89 | 1750 | 2150 | 1750 | 4000 | 3820.89 | 4770.89
59 | _4. Off grid SDD refrigerators_without freezer comp | - <60L | Vestfrost | VLS 054A SDD with RTMS (Own integrated) | 55.5 | - | 3.0167 | 4629.89 | 1750 | 2150 | 1750 | 4000 | 5029.89 | 5979.89
60 | _4. Off grid SDD refrigerators_without freezer comp | - <60L | Haier | HTC 110 SDD | 59 | - | 4 | 2550 | 1750 | 2150 | 1750 | 4000 | 2950 | 3900
61 | _4. Off grid SDD refrigerators_without freezer comp | - <60L | Haier | HTC 110 SDD with RTMS (Haier U-Cool bundled) | 59 | - | 4 | 3010 | 1750 | 2150 | 1750 | 4000 | 3410 | 4360
62 | _4. Off grid SDD refrigerators_without freezer comp | 60 - <120L | Dulas Solar | VC 88 SDD | 88 | - | 3.2563 | 4369.75 | 1750 | 2150 | 1750 | 4000 | 4769.75 | 5719.75
63 | _4. Off grid SDD refrigerators_without freezer comp | 60 - <120L | Dulas Solar | VC 88 SDD with RTMS (B Wirless ICE3 BC141) | 88 | - | 3.2563 | 5442.325 | 1750 | 2150 | 1750 | 4000 | 5842.325 | 6792.325
64 | _4. Off grid SDD refrigerators_without freezer comp | 60 - <120L | Vestfrost | VLS 094A SDD | 92 | - | 3.0208 | 3813.6 | 1750 | 2150 | 1750 | 4000 | 4213.6 | 5163.6
65 | _4. Off grid SDD refrigerators_without freezer comp | 60 - <120L | Vestfrost | VLS 094A SDD with RTMS (Own integrated) | 92 | - | 3.0208 | 5022.6 | 1750 | 2150 | 1750 | 4000 | 5422.6 | 6372.6
66 | _4. Off grid SDD refrigerators_without freezer comp | 60 - <120L | Godrej & Boyce | GVR 100 DC | 99 | - | 7.3312 | 3830 | 1750 | 2150 | 1750 | 4000 | 4230 | 5180
67 | _4. Off grid SDD refrigerators_without freezer comp | 60 - <120L | Godrej & Boyce | GVR 100 DC with RTMS (Bey. Wire. ICE3 BC141 bundled) | 99 | - | 7.3312 | 5330 | 1750 | 2150 | 1750 | 4000 | 5730 | 6680
68 | _4. Off grid SDD refrigerators_without freezer comp | 60 - <120L | Haier | HTC-120 | 100 | - | 4.6833 | 3300 | 1750 | 2150 | 1750 | 4000 | 3700 | 4650
69 | _4. Off grid SDD refrigerators_without freezer comp | 60 - <120L | Haier | HTC-120 with RTMS (Haier U-Cool bundled) | 100 | - | 4.6833 | 3760 | 1750 | 2150 | 1750 | 4000 | 4160 | 5110
70 | _4. Off grid SDD refrigerators_without freezer comp | 60 - <120L | B Medical | TCW 80 SDD | 80.5 | - | 3 | 6830.43 | 1750 | 2150 | 1750 | 4000 | 7230.43 | 8180.43
71 | _4. Off grid SDD refrigerators_without freezer comp | >120L | Dulas Solar | VC 200 SDD | 132 | - | 3.3118 | 4676.2 | 1750 | 2150 | 1750 | 4000 | 5076.2 | 6026.2
72 | _4. Off grid SDD refrigerators_without freezer comp | >120L | Dulas Solar | VC 200 SDD with RTMS (B Wirless ICE3 BC141) | 132 | - | 3.3118 | 5748.775 | 1750 | 2150 | 1750 | 4000 | 6148.775 | 7098.775
73 | _4. Off grid SDD refrigerators_without freezer comp | >120L | Vestfrost | VLS 154A SDD | 170 | - | 3.0583 | 4931.575 | 1750 | 2150 | 1750 | 4000 | 5331.575 | 6281.575
74 | _4. Off grid SDD refrigerators_without freezer comp | >120L | Vestfrost | VLS 154A SDD with RTMS (Own integrated) | 170 | - | 3.0583 | 6140.575 | 1750 | 2150 | 1750 | 4000 | 6540.575 | 7490.575
75 | _4. Off grid SDD refrigerators_without freezer comp | >120L | Haier | HTC-240 | 200 | - | 3.891 | 3804 | 1750 | 2150 | 1750 | 4000 | 4204 | 5154
76 | _4. Off grid SDD refrigerators_without freezer comp | >120L | Haier | HTC-240 with RTMS (Haier U-Cool bundled) | 200 | - | 3.891 | 4264 | 1750 | 2150 | 1750 | 4000 | 4664 | 5614
77 | _4. Off grid SDD refrigerators_without freezer comp | >120L | B Medical | TCW 4000 SDD | 220 | - | 3.8028 | 9025.52 | 1750 | 2150 | 1750 | 4000 | 9425.52 | 10375.52
78 | _5. Off grid SDD refrigerators_with freezer comp | - <60L | B Medical | TCW 40 SDD | 36 | 4.8 | 3.4125 | 7252.65 | 1750 | 2150 | 1750 | 4000 | 7652.65 | 8602.65
79 | _5. Off grid SDD refrigerators_with freezer comp | - <60L | Haier | HTCD 90 SDD | 37.5 | 32 | 4.7875 | 4150 | 1750 | 2150 | 1750 | 4000 | 4550 | 5500
80 | _5. Off grid SDD refrigerators_with freezer comp | - <60L | Haier | HTCD 90 SDD with RTMS (Haier U-Cool bundled) | 37.5 | 32 | 4.7875 | 4610 | 1750 | 2150 | 1750 | 4000 | 5010 | 5960
81 | _5. Off grid SDD refrigerators_with freezer comp | - <60L | Vestfrost | VLS 056 RF SDD | 36 | 34.3 | 3 | 5731.75 | 1750 | 2150 | 1750 | 4000 | 6131.75 | 7081.75
82 | _5. Off grid SDD refrigerators_with freezer comp | - <60L | Vestfrost | VLS 056 RF SDD with RTMS (Own integrated) | 36 | 34.3 | 3 | 6940.75 | 1750 | 2150 | 1750 | 4000 | 7340.75 | 8290.75
83 | _5. Off grid SDD refrigerators_with freezer comp | - <60L | Dulas Solar | VC 60 SDD | 57 | 24 | 3.4583 | 5277.75 | 1750 | 2150 | 1750 | 4000 | 5677.75 | 6627.75
84 | _5. Off grid SDD refrigerators_with freezer comp | - <60L | Dulas Solar | VC 60 SDD with RTMS (B Wirless ICE13 BC141) | 57 | 24 | 3.4583 | 6350.325 | 1750 | 2150 | 1750 | 4000 | 6750.325 | 7700.325
85 | _5. Off grid SDD refrigerators_with freezer comp | - <60L | Godrej & Boyce | GVR 55 FF DC | 58 | 44 | 11.8125 | 5335 | 1750 | 2150 | 1750 | 4000 | 5735 | 6685
86 | _5. Off grid SDD refrigerators_with freezer comp | - <60L | Godrej & Boyce | GVR 55 FF DC with RTMS (Bey. Wire. ICE3 BC141 bundled) | 58 | 44 | 11.8125 | 6835 | 1750 | 2150 | 1750 | 4000 | 7235 | 8185
87 | _5. Off grid SDD refrigerators_with freezer comp | - <60L | Aucma | TCD-100 | 48 | 38 | 7.9 | 2550 | 1750 | 2150 | 1750 | 4000 | 2950 | 3900
88 | _5. Off grid SDD refrigerators_with freezer comp | - <60L | Aucma | TCD-100 with RTMS (Bey. Wire. ICE3 BC141 bundled) | 48 | 38 | 7.9 | 3760 | 1750 | 2150 | 1750 | 4000 | 4160 | 5110
89 | _5. Off grid SDD refrigerators_with freezer comp | 60 - <120L | B Medical | TCW 2043 SDD | 70 | 42 | 3.0792 | 11073.06 | 1750 | 2150 | 1750 | 4000 | 11473.06 | 12423.06
90 | _5. Off grid SDD refrigerators_with freezer comp | 60 - <120L | Haier | HTCD 160 SDD | 100 | 40 | 5.0604 | 5800 | 1750 | 2150 | 1750 | 4000 | 6200 | 7150
91 | _5. Off grid SDD refrigerators_with freezer comp | 60 - <120L | Haier | HTCD 160 SDD with RTMS (Haier U-Cool bundled) | 100 | 40 | 5.0604 | 6260 | 1750 | 2150 | 1750 | 4000 | 6660 | 7610
92 | _5. Off grid SDD refrigerators_with freezer comp | 60 - <120L | Dulas Solar | VC 150 SDD | 102 | 42.9 | 3.2496 | 6299.25 | 1750 | 2150 | 1750 | 4000 | 6699.25 | 7649.25
93 | _5. Off grid SDD refrigerators_with freezer comp | 60 - <120L | Dulas Solar | VC 150 SDD with RTMS (B Wireless ICE3 BC141) | 102 | 42.9 | 3.2496 | 7371.825 | 1750 | 2150 | 1750 | 4000 | 7771.825 | 8721.825
94 | _5. Off grid SDD refrigerators_with freezer comp | 60 - <120L | Vestfrost | VLS 096A RF SDD | 110 | 16.8 | 2.3 | 7008.625 | 1750 | 2150 | 1750 | 4000 | 7408.625 | 8358.625
95 | _5. Off grid SDD refrigerators_with freezer comp | 60 - <120L | Vestfrost | VLS 096A RF SDD with RTMS (Own integrated) | 110 | 16.8 | 2.3 | 8217.625 | 1750 | 2150 | 1750 | 4000 | 8617.625 | 9567.625
96 | _5. Off grid SDD refrigerators_with freezer comp | >120L | B Medical | TCW120SDD | 120 | 28 | 3.4 | 12563.315 | 1750 | 2150 | 1750 | 4000 | 12963.315 | 13913.315
97 | _6. Off grid SDD freezer | - <60L | Vestfrost | VFS 048 SDD | - | 34.3 | 2 | 3017.965 | 1750 | 2150 | 1750 | 4000 | 4767.965 | 5167.965
98 | _6. Off grid SDD freezer | - <60L | Haier | HTD 40 SDD | - | 48 | 5 | 2320 | 1750 | 2150 | 1750 | 4000 | 4070 | 4470
99 | _6. Off grid SDD freezer | 60 - <120L | B Medical | TFW 40 SDD | - | 64 | 5 | 5899.73 | 1750 | 2150 | 1750 | 4000 | 7649.73 | 8049.73
100 | _7. Temperature monitoring device_30DTR_Existing CCE | - | Berlinger | Fridge-Tag 2 E | - | - | - | 73 | 0 | 0 | NA | NA | 73 | 73
101 | _7. Temperature monitoring device_30DTR_Existing CCE | - | LogTag | Vaxtag (TRID30-7FW) | - | - | - | 22.5 | 0 | 0 | NA | NA | 22.5 | 22.5
102 | _7. Temperature monitoring device_30DTR_Existing CCE | - | LogTag | LogTag USB Cradle | - | - | - | 22 | 0 | 0 | NA | NA | 22 | 22
103 | _7. Temperature monitoring device_30DTR_Existing CCE | - | Haier | HETL-01 | - | - | - | 23 | 0 | 0 | NA | NA | 23 | 23
104 | _8.Remote temperature monitoring devices_RTMDs | - | Beyond Wireless | ICE3 (WICR Model BC141) + 3 years data/portal access | - | - | - | 1595 | 200 | 400 | NA | NA | 1795 | 1995
105 | _8.Remote temperature monitoring devices_RTMDs | - | Ikhaya | VM 1000 (WICR Model)+ 3 years data/portal access | - | - | - | 1196.88 | 200 | 400 | NA | NA | 1396.88 | 1596.88
106 | _8.Remote temperature monitoring devices_RTMDs | - | Beyond Wireless | ICE3 EXTRA - MODEL BC440 (2 WICR Model) + 3 years data/portal access | - | - | - | 2250 | 200 | 400 | NA | NA | 2450 | 2650
107 | _8.Remote temperature monitoring devices_RTMDs | - | Ikhaya | VM 1000 (2 WICR Model)+ 3 years data/portal access | - | - | - | 1696.88 | 200 | 400 | NA | NA | 1896.88 | 2096.88
108 | _8.Remote temperature monitoring devices_RTMDs | - | Beyond Wireless | ICE3 EXTRA - MODEL BC440 (3 WICR Model)+ 3 years data/portal access | - | - | - | 2805 | 200 | 400 | NA | NA | 3005 | 3205
109 | _8.Remote temperature monitoring devices_RTMDs | - | Ikhaya | VM 1000 (Refrigerator model)+ 3 years data/portal access | - | - | - | 1117.88 | 200 | 400 | NA | NA | 1317.88 | 1517.88
110 | _8.Remote temperature monitoring devices_RTMDs | - | Nexleaf | ColdTrace 5 (Refrigerator model CT5)+ 3 years data/portal access | - | - | - | 531 | 200 | 400 | NA | NA | 731 | 931
111 | _8.Remote temperature monitoring devices_RTMDs | - | Parsyl | Trek Pro (Refrigerator model)+ 3 years data/portal access | - | - | - | 429 | 200 | 400 | NA | NA | 629 | 829
112 | _8.Remote temperature monitoring devices_RTMDs | - | Haier | Haier U-Cool (Refrigerator model)+ 3 years data/portal access | - | - | - | 460 | 200 | 400 | NA | NA | 660 | 860
113 | _8.Remote temperature monitoring devices_RTMDs | - | Beyond Wireless | ICE3 (Refrigerator Model BC141)+ 3 years data/portal access | - | - | - | 1210 | 200 | 400 | NA | NA | 1410 | 1610
114 | _9.Long term passive devices | >5L | Aucma | Arktek YBC - 5 | 5.4 |  | - | 2393 | 0 | 0 | NA | NA | 2393 | 2393
115 | _10. Freeze free vaccine carriers | <5L | AOV | AFVC 46 | 1.5 | - | 1.4167 | 32 | 0 | 0 | NA | NA | 32 | 32
116 | _10. Freeze free vaccine carriers | <5L | AOV | AFVC 44 | 1.18 | - | 1.16 | 27 | 0 | 0 | NA | NA | 27 | 27
117 | _10. Freeze free vaccine carriers | <5L | Blow Kings | BK-VC-FF 1.6L | 1.6 | - | 1.25 | 37 | 0 | 0 | NA | NA | 37 | 37
118 | _10. Freeze free vaccine carriers | <5L | Blow Kings | BK-VC-FF 2.4L | 2.4 | - | 1.6 | 47 | 0 | 0 | NA | NA | 47 | 47
119 | _10. Freeze free vaccine carriers | <5L | Qingdao Leff | FFVC-1.7L | 1.7 | - | 1.4042 | 34 | 0 | 0 | NA | NA | 34 | 34
120 | _10. Freeze free vaccine carriers | <5L | Nilkamal | BCVC46LFF | 1.5 | - | 1.4 | 27.96 | 0 | 0 | NA | NA | 27.96 | 27.96
121 | _10. Freeze free vaccine carriers | <5L | B Medical | RCW1 | 1 | - | 1.3 | 267.86 | 0 | 0 | NA | NA | 267.86 | 267.86
122 | _11. Freeze free cold boxes | >15L | Qingdao Leff | FFCB-15L | 15.4 | - | 4.4229 | 239 | 0 | 0 | NA | NA | 239 | 239
123 | _11. Freeze free cold boxes | <15L | Qingdao Leff | FFCB-20L | 20 | - | 3 | 234 | 0 | 0 | NA | NA | 234 | 234
124 | _12. Voltage regulators for equipment | - | Sollatek | SVS04-22E 4A | - | - | - | 110 | 0 | 0 | NA | NA | 110 | 110
125 | _12. Voltage regulators for equipment | - | Haier | HVS-1000E | - | - | - | 112 | 0 | 0 | NA | NA | 112 | 112
126 | _13. Ice packs | 0.3L | AOV | AIP3 | - | 0.3L | - | 0.36 | 0 | 0 | NA | NA | 0.36 | 0.36
127 | _13. Ice packs | 0.3L | APEX | AIIP03 | - | 0.3L | - | 0.3 | 0 | 0 | NA | NA | 0.3 | 0.3
128 | _13. Ice packs | 0.3L | Blow Kings | BK V4H | - | 0.3L | - | 1 | 0 | 0 | NA | NA | 1 | 1
129 | _13. Ice packs | 0.3L | Nilkamal | BIP-3 | - | 0.3L | - | 0.27 | 0 | 0 | NA | NA | 0.27 | 0.27
130 | _13. Ice packs | 0.3L | Qingdao Leff | WP-0.3L | - | 0.3L | - | 0.27 | 0 | 0 | NA | NA | 0.27 | 0.27
131 | _13. Ice packs | 0.4L | AOV | AIP4 | - | 0.4L | - | 0.36 | 0 | 0 | NA | NA | 0.36 | 0.36
132 | _13. Ice packs | 0.4L | APEX | AIIP04 | - | 0.4L | - | 0.31 | 0 | 0 | NA | NA | 0.31 | 0.31
133 | _13. Ice packs | 0.4L | Blow Kings | BK 4 | - | 0.4L | - | 1 | 0 | 0 | NA | NA | 1 | 1
134 | _13. Ice packs | 0.4L | Nilkamal | BIP-4 | - | 0.4L | - | 0.28 | 0 | 0 | NA | NA | 0.28 | 0.28
135 | _13. Ice packs | 0.4L | Qingdao Leff | WP-0.4L | - | 0.4L | - | 0.27 | 0 | 0 | NA | NA | 0.27 | 0.27
136 | _13. Ice packs | 0.6L | AOV | AIP6 | - | 0.6L | - | 0.5 | 0 | 0 | NA | NA | 0.5 | 0.5
137 | _13. Ice packs | 0.6L | APEX | AIIP06 | - | 0.6L | - | 0.42 | 0 | 0 | NA | NA | 0.42 | 0.42
138 | _13. Ice packs | 0.6L | Blow Kings | BK 6 | - | 0.6L | - | 1.5 | 0 | 0 | NA | NA | 1.5 | 1.5
139 | _13. Ice packs | 0.6L | Nilkamal | BIP-6 | - | 0.6L | - | 0.42 | 0 | 0 | NA | NA | 0.42 | 0.42
140 | _13. Ice packs | 0.6L | B Medical | Icepack 0.6L - set of 24 | - | 0.6L | - | 112.365 | 0 | 0 | NA | NA | 112.365 | 112.365
141 | _13. Ice packs | 0.6L | Qingdao Leff | WP-0.6L | - | 0.6L | - | 0.35 | 0 | 0 | NA | NA | 0.35 | 0.35
142 | _14.Spare parts On grid ILR_without freezer comp | - | B Medical | TCW 40R AC-spare parts | - | - | - | 451.73 | 0 | 0 | NA | NA | - | -
143 | _14.Spare parts On grid ILR_without freezer comp | - |  |  | - | - | - |  | 0 | 0 | NA | NA | - | -
144 | _14.Spare parts On grid ILR_without freezer comp | - | Godrej & Boyce | GVR 51 Lite AC-spare parts | - | - | - | 205 | 0 | 0 | NA | NA | - | -
145 | _14.Spare parts On grid ILR_without freezer comp | - | Vestfrost | VLS 174A AC-spare parts | - | - | - | 200.895 | 0 | 0 | NA | NA | - | -
146 | _14.Spare parts On grid ILR_without freezer comp | - | Haier | HBC 80-spare parts | - | - | - | 180 | 0 | 0 | NA | NA | - | -
147 | _14.Spare parts On grid ILR_without freezer comp | - | Godrej & Boyce | GVR 75 Lite AC-spare parts | - | - | - | 205 | 0 | 0 | NA | NA | - | -
148 | _14.Spare parts On grid ILR_without freezer comp | - | B Medical | TCW 80 AC-spare parts | - | - | - | 431.3 | 0 | 0 | NA | NA | - | -
149 | _14.Spare parts On grid ILR_without freezer comp | - | Vestfrost | VLS 304A AC-spare parts | - | - | - | 200.895 | 0 | 0 | NA | NA | - | -
150 | _14.Spare parts On grid ILR_without freezer comp | - | Vestfrost | VLS 204A AC-spare parts | - | - | - | 200.895 | 0 | 0 | NA | NA | - | -
151 | _14.Spare parts On grid ILR_without freezer comp | - | Godrej & Boyce | GVR 99 Lite AC-spare parts | - | - | - | 205 | 0 | 0 | NA | NA | - | -
152 | _14.Spare parts On grid ILR_without freezer comp | - | Haier | HBC-120-spare parts | - | - | - | 275 | 0 | 0 | NA | NA | - | -
153 | _14.Spare parts On grid ILR_without freezer comp | - | Vestfrost | VLS 504A AC-spare parts | - | - | - | 234.945 | 0 | 0 | NA | NA | - | -
154 | _14.Spare parts On grid ILR_without freezer comp | - | Dulas Solar | VC 225 ILR-spare parts | - | - | - | 461 | 0 | 0 | NA | NA | - | -
155 | _14.Spare parts On grid ILR_without freezer comp | - | Haier | HBC 260-spare parts | - | - | - | 180 | 0 | 0 | NA | NA | - | -
156 | _14.Spare parts On grid ILR_without freezer comp | - | Godrej & Boyce | GVR 225 AC-spare parts | - | - | - | 250 | 0 | 0 | NA | NA | - | -
157 | _14.Spare parts On grid ILR_without freezer comp | - | B Medical | TCW 4000 AC-spare parts | - | - | - | 374.55 | 0 | 0 | NA | NA | - | -
158 | _14.Spare parts On grid ILR_without freezer comp | - | Coolfinity | Coolfinity IceVolt 300P-spare parts | - | - | - | 1135 | 0 | 0 | NA | NA | - | -
159 | _15.Spare parts On grid ILR_with freezer comp | - | Haier | HBCD - 90-spare parts | - | - | - | 180 | 0 | 0 | NA | NA | - | -
160 | _15.Spare parts On grid ILR_with freezer comp | - | Godrej & Boyce | GVR 55 FF AC-spare parts | - | - | - | 250 | 0 | 0 | NA | NA | - | -
161 | _15.Spare parts On grid ILR_with freezer comp |  | Vestfrost | VLS 064 RF AC-spare parts | - | - | - | 406.33 | 0 | 0 | NA | NA | - | -
162 | _15.Spare parts On grid ILR_with freezer comp | - | B Medical | TCW120AC-spare parts | - | - | - | 552.3251 | 0 | 0 | NA | NA | - | -
163 | _16.Spare parts On grid freezers | - | Aucma | DW-25W147-spare parts | - | - | - | 215 | 0 | 0 | NA | NA | - | -
164 | _16.Spare parts On grid freezers | - | Vestfrost | MF 114-spare parts | - | - | - | 185.005 | 0 | 0 | NA | NA | - | -
165 | _16.Spare parts On grid freezers | - | Haier | HBD-86-spare parts | - | - | - | 180 | 0 | 0 | NA | NA | - | -
166 | _16.Spare parts On grid freezers | - | Aucma | DW-25W300-spare parts | - | - | - | 215 | 0 | 0 | NA | NA | - | -
167 | _16.Spare parts On grid freezers | - | Vestfrost | MF 314-spare parts | - | - | - | 185.005 | 0 | 0 | NA | NA | - | -
168 | _16.Spare parts On grid freezers | - | Haier | HBD-265-spare parts | - | - | - | 180 | 0 | 0 | NA | NA | - | -
169 | _16.Spare parts On grid freezers | - | B Medical | TCW120SDD-spare parts | - | - | - | 552.3251 | 0 | 0 | NA | NA | - | -
170 | _16.Spare parts On grid freezers | - | Godrej & Boyce | GMF 200 ECO-spare parts | - | - | - | 250 | 0 | 0 | NA | NA
171 | _17.Spare parts Off grid SDD refrigerators_without freezer comp | - | B Medical | TCW 40R SDD -spare parts | - | - | - | 414.275 | 0 | 0 | NA | NA | - | -
172 | _17.Spare parts Off grid SDD refrigerators_without freezer comp | - | Godrej & Boyce | GVR 50 DC -spare parts | - | - | - | 550 | 0 | 0 | NA | NA | - | -
173 | _17.Spare parts Off grid SDD refrigerators_without freezer comp | - | Aucma | CFD-50 SDD -spare parts | - | - | - | 538.5 | 0 | 0 | NA | NA | - | -
174 | _17.Spare parts Off grid SDD refrigerators_without freezer comp | - | Dulas Solar | VC 50 SDD -spare parts | - | - | - | 480 | 0 | 0 | NA | NA | - | -
175 | _17.Spare parts Off grid SDD refrigerators_without freezer comp | - | Vestfrost | VLS 054A SDD -spare parts | - | - | - | 451.73 | 0 | 0 | NA | NA | - | -
176 | _17.Spare parts Off grid SDD refrigerators_without freezer comp | - | Haier | HTC 110 SDD -spare parts | - | - | - | 395 | 0 | 0 | NA | NA | - | -
177 | _17.Spare parts Off grid SDD refrigerators_without freezer comp | - | Dulas Solar | VC 88 SDD -spare parts | - | - | - | 461 | 0 | 0 | NA | NA | - | -
178 | _17.Spare parts Off grid SDD refrigerators_without freezer comp | - | Vestfrost | VLS 094A SDD -spare parts | - | - | - | 451.73 | 0 | 0 | NA | NA | - | -
179 | _17.Spare parts Off grid SDD refrigerators_without freezer comp | - | Godrej & Boyce | GVR 100 DC -spare parts | - | - | - | 550 | 0 | 0 | NA | NA | - | -
180 | _17.Spare parts Off grid SDD refrigerators_without freezer comp | - | Haier | HTC-120 -spare parts | - | - | - | 410 | 0 | 0 | NA | NA | - | -
181 | _17.Spare parts Off grid SDD refrigerators_without freezer comp | - | B Medical | TCW 80 SDD -spare parts | - | - | - | 406.33 | 0 | 0 | NA | NA | - | -
182 | _17.Spare parts Off grid SDD refrigerators_without freezer comp | - | Dulas Solar | VC 200 SDD -spare parts | - | - | - | 461 | 0 | 0 | NA | NA | - | -
183 | _17.Spare parts Off grid SDD refrigerators_without freezer comp | - | Vestfrost | VLS 154A SDD -spare parts | - | - | - | 451.73 | 0 | 0 | NA | NA | - | -
184 | _17.Spare parts Off grid SDD refrigerators_without freezer comp | - | Haier | HTC-240 -spare parts | - | - | - | 410 | 0 | 0 | NA | NA | - | -
185 | _17.Spare parts Off grid SDD refrigerators_without freezer comp | - | B Medical | TCW 4000 SDD -spare parts | - | - | - | 456.27 | 0 | 0 | NA | NA | - | -
186 | _18.Spare parts Off grid SDD refrigerators_with freezer comp | - | Vestfrost | VLS 056 RF SDD -spare parts | - | - | - | 511.885 | 0 | 0 | NA | NA | - | -
187 | _18.Spare parts Off grid SDD refrigerators_with freezer comp | - | Dulas Solar | VC 60 SDD -spare parts | - | - | - | 595 | 0 | 0 | NA | NA | - | -
188 | _18.Spare parts Off grid SDD refrigerators_with freezer comp | - | Godrej & Boyce | GVR 55 FF DC -spare parts | - | - | - | 650 | 0 | 0 | NA | NA | - | -
189 | _18.Spare parts Off grid SDD refrigerators_with freezer comp | - | B Medical | TCW 2043 SDD -spare parts | - | - | - | 429.03 | 0 | 0 | NA | NA | - | -
190 | _18.Spare parts Off grid SDD refrigerators_with freezer comp | - | Haier | HTCD 160 SDD -spare parts | - | - | - | 410 | 0 | 0 | NA | NA | - | -
191 | _18.Spare parts Off grid SDD refrigerators_with freezer comp | - | Dulas Solar | VC 150 SDD -spare parts | - | - | - | 595 | 0 | 0 | NA | NA | - | -
192 | _18.Spare parts Off grid SDD refrigerators_with freezer comp | - | Vestfrost | VLS 096A RF SDD -spare parts | - | - | - | 444.92 | 0 | 0 | NA | NA | - | -
193 | _18.Spare parts Off grid SDD refrigerators_with freezer comp | - | Aucma | TCD-100 -spare parts | - | - | - | 0 | 0 | 0 | NA | NA | - | -
194 | _18.Spare parts Off grid SDD refrigerators_with freezer comp | - | B Medical | TCW120SDD -spare parts | - | - | - | 552.3251 | 0 | 0 | NA | NA | - | -
195 | _18.Spare parts Off grid SDD refrigerators_with freezer comp | - | Vestfrost | VFS 048 SDD -spare parts | - | - | - | 451.73 | 0 | 0 | NA | NA | - | -
196 | _18.Spare parts Off grid SDD refrigerators_with freezer comp | - | B Medical | TFW 40 SDD -spare parts | - | - | - | 416.545 | 0 | 0 | NA | NA | - | -
197 | _19.Spare parts Off grid SDD freezer | - | Haier | HTD 40 SDD -spare parts | - | - | - | 410 | 0 | 0 | NA | NA | - | -
198 | _20.Annual Data Subscription renewals for Existing RTMDs | - | Berlinger | Fridge-tag 3 annual data subscription | - | - | - | 400 | 0 | 0 | NA | NA | - | -
199 | _20.Annual Data Subscription renewals for Existing RTMDs | - | Beyond Wireless | ICE3 (BC141) annual data subscription | - | - | - | 320 | 0 | 0 | NA | NA | - | -
200 | _20.Annual Data Subscription renewals for Existing RTMDs | - | Haier | Haier U-Cool annual data subscription | - | - | - | 150 | 0 | 0 | NA | NA | - | -
201 | _20.Annual Data Subscription renewals for Existing RTMDs | - | Vestfrost | Vestfrost integrated RTMD annual data subscription | - | - | - | 365 | 0 | 0 | NA | NA | - | -
202 | _20.Annual Data Subscription renewals for Existing RTMDs | - | Ikhaya | VM 1000 annual data subscription | - | - | - | 400 | 0 | 0 | NA | NA | - | -
203 | _20.Annual Data Subscription renewals for Existing RTMDs | - | Nexleaf | ColdTrace 5 annual data subscription | - | - | - | 60 | 0 | 0 | NA | NA | - | -
204 | _20.Annual Data Subscription renewals for Existing RTMDs | - | Haier | U-Cool LoRa annual data subscription | - | - | - | 200 | 0 | 0 | NA | NA | - | -
205 | _20.Annual Data Subscription renewals for Existing RTMDs | - | Beyond Wireless | ICE3 (BC440) annual data subscription | - | - | - | 365 | 0 | 0 | NA | NA | - | -
206 | _20.Annual Data Subscription renewals for Existing RTMDs | - | Ikhaya | VM 1000 (for WICRs) annual data subscription | - | - | - | 400 | 0 | 0 | NA | NA | - | -
207 | _20.Annual Data Subscription renewals for Existing RTMDs | - | Parsyl | Trek Pro annual data subscription | - | - | - | 82 | 0 | 0 | NA | NA | - | -
208 | _21.Training In Person | - | - | In-person refrigerators and freezers installation, maintenance , and repair | - | - | - | 18500 | 0 | 0 | NA | NA | - | -
209 | _21.Training In Person | - | - | In-person RTMD system , technician and general training on refrigerators and freezers | - | - | - | 8000 | 0 | 0 | NA | NA | - | -
210 | _21.Training In Person | - | - | In-person RTMD system , technician and general training on WICRs/WIFRs | - | - | - | 8000 | 0 | 0 | NA | NA | - | -
211 | _22.Training Remote | - | - | Remote RTMD system , technician and general training on refrigerators and freezers | - | - | - | 2500 | 0 | 0 | NA | NA | - | -
212 | _22.Training Remote | - | - | Remote RTMD system , technician and general training on WICRs/WIFRs | - | - | - | 3000 | 0 | 0 | NA | NA | - | -

## Reference_Dropdown1 (hidden)
Dropdown table 1-> Type of equipment |  |  | typeofequipment
1 | On grid ILR_without freezer comp | _1. On grid ILR_without freezer comp | _1.OngridILR_withoutfreezercomp
2 | On grid ILR_with freezer comp | _2. On grid ILR_with freezer comp | _2.OngridILR_withfreezercomp
3 | On grid freezers | _3. On grid freezers | _3.Ongridfreezers
4 | Off grid SDD refrigerators_without freezer comp | _4. Off grid SDD refrigerators_without freezer comp | _4.OffgridSDDrefrigerators_withoutfreezercomp
5 | Off grid SDD refrigerators_with freezer comp | _5. Off grid SDD refrigerators_with freezer comp | _5.OffgridSDDrefrigerators_withfreezercomp
6 | Off grid SDD freezer | _6. Off grid SDD freezer | _6.OffgridSDDfreezer
7 | Existing CCE Temperature monitoring device_30DTR | _7. Existing CCE Temperature monitoring device_30DTR | _7.ExistingCCETemperaturemonitoringdevice_30DTR
8 | Remote temperature monitoring devices_RTMDs | _8.Remote temperature monitoring devices_RTMDs | _8.Remotetemperaturemonitoringdevices_RTMDs
9 | Long term passive devices | _9.Long term passive devices | _9.Longtermpassivedevices
10 | Freeze free vaccine carriers | _10. Freeze free vaccine carriers | _10.Freezefreevaccinecarriers
11 | Freeze free cold boxes | _11. Freeze free cold boxes | _11.Freezefreecoldboxes
12 | Voltage regulators for equipment | _12. Voltage regulators for equipment | _12.Voltageregulatorsforequipment
13 | Ice packs | _13. Ice packs | _13.Icepacks
14 | Spare parts New On grid ILR_without freezer comp | _14.Spare parts New On grid ILR_without freezer comp | _14.SparepartsNewOngridILR_withoutfreezercomp
15 | Spare parts New On grid ILR_with freezer comp | _15.Spare parts New On grid ILR_with freezer comp | _15.SparepartsNewOngridILR_withfreezercomp
16 | Spare parts New On grid freezers | _16.Spare parts New On grid freezers | _16.SparepartsNewOngridfreezers
17 | Spare parts New Off grid SDD refrigerators_without freezer comp | _17.Spare parts New Off grid SDD refrigerators_without freezer comp | _17.SparepartsNewOffgridSDDrefrigerators_withoutfreezercomp
18 | Spare parts New Off grid SDD refrigerators_with freezer comp | _18.Spare parts New Off grid SDD refrigerators_with freezer comp | _18.SparepartsNewOffgridSDDrefrigerators_withfreezercomp
19 | Spare parts New Off grid SDD freezer | _19.Spare parts New Off grid SDD freezer | _19.SparepartsNewOffgridSDDfreezer
20 | Annual Data Subscription renewals for Existing RTMDs | _20.Annual Data Subscription renewals for Existing RTMDs | _20.AnnualDataSubscriptionrenewalsforExistingRTMDs
21 | Training In person | _21.Training In person | _21.TrainingInperson
22 | Training Remote | _22.Training Remote | _22.TrainingRemote
_12. Temperature monitoring device_30DTR
_14. Standard vaccine carriers
20%
50%
| _18. Voltage regulators for equipment | Years
| _19. Ice packs | 2020
2021
2022
| _22. Spare parts for new freezer equipment | 2023
| _23. Spare parts for new SDD without freezer comp | 2024
| _24. Spare parts for new SDD with freezer comp | 2025
| _25. Spare parts for new SDD freezer | 2026
2027
2028
2029
2030

## Reference_Dropdowns2 (hidden)
_1.OngridILR_withoutfreezercomp | _2.OngridILR_withfreezercomp | _3.Ongridfreezers | _4.OffgridSDDrefrigerators_withoutfreezercomp | _5.OffgridSDDrefrigerators_withfreezercomp | _6.OffgridSDDfreezer | _7.ExistingCCETemperaturemonitoringdevice_30DTR | _8.Remotetemperaturemonitoringdevices_RTMDs | _9.Longtermpassivedevices | _10.Freezefreevaccinecarriers | _11.Freezefreecoldboxes | _12.Voltageregulatorsforequipment | _13.Icepacks | _14.SparepartsNewOngridILR_withoutfreezercomp | _15.SparepartsNewOngridILR_withfreezercomp | _16.SparepartsNewOngridfreezers | _17.SparepartsNewOffgridSDDrefrigerators_withoutfreezercomp | _18.SparepartsNewOffgridSDDrefrigerators_withfreezercomp | _19.SparepartsNewOffgridSDDfreezer | _20.AnnualDataSubscriptionrenewalsforExistingRTMDs | _21.TrainingInperson | _22.TrainingRemote
0 - < 60L | 0 - < 60L | 60 - <120L | 0 - < 60L | 0 - < 60L | 0 - < 60L | NA | WICR | 5 - <10L | 0 - <5L | > - 15L | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
60 - <120L | 60 - <120L | > - 120L | 60 - <120L | 60 - <120L | 60 - <120L |  | Refrigerator |  |  | < 15L
> - 120L |  |  | > - 120L | > - 120L | > - 120L
_1.OngridILR_withoutfreezercomp0-<60L | _1.OngridILR_withoutfreezercomp60-<120L | _1.OngridILR_withoutfreezercomp>-120L | _2.OngridILR_withfreezercomp0-<60L | _2.OngridILR_withfreezercomp60-<120L | _3.Ongridfreezers60-<120L | _3.Ongridfreezers>-120L | _4.OffgridSDDrefrigerators_withoutfreezercomp0-<60L | _4.OffgridSDDrefrigerators_withoutfreezercomp60-<120L | _4.OffgridSDDrefrigerators_withoutfreezercomp>-120L | _5.OffgridSDDrefrigerators_withfreezercomp0-<60L | _5.OffgridSDDrefrigerators_withfreezercomp60-<120L | _5.OffgridSDDrefrigerators_withfreezercomp>-120L | _6.OffgridSDDfreezer0-<60L | _6.OffgridSDDfreezer60-<120L | _6.OffgridSDDfreezer>-120L | _7.ExistingCCETemperaturemonitoringdevice_30DTRNA | _8.Remotetemperaturemonitoringdevices_RTMDsWICR | _8.Remotetemperaturemonitoringdevices_RTMDsRefrigerator | _9.Longtermpassivedevices5-<10L | _10.Freezefreevaccinecarriers0-<5L | _11.Freezefreecoldboxes>-15L | _11.Freezefreecoldboxes<15L | _12.VoltageregulatorsforequipmentNA | _13.IcepacksNA | _14.SparepartsNewOngridILR_withoutfreezercompNA | _15.SparepartsNewOngridILR_withfreezercompNA | _16.SparepartsNewOngridfreezersNA | _17.SparepartsNewOffgridSDDrefrigerators_withoutfreezercompNA | _18.SparepartsNewOffgridSDDrefrigerators_withfreezercompNA | _19.SparepartsNewOffgridSDDfreezerNA | _20.AnnualDataSubscriptionrenewalsforExistingRTMDsNA | _21.TrainingInpersonNA | _22.TrainingRemoteNA
TCW 40R AC | HBC 80 | VLS 504A AC | HBCD - 90 | TCW120AC | DW-25W147 | DW-25W300 | TCW 40R SDD | VC 88 SDD | VC 200 SDD | TCW 40 SDD | TCW 2043 SDD | TCW120SDD | VFS 048 SDD | TFW 40 SDD |  | Fridge-Tag 2 E | ICE3 (WICR Model BC141) + 3 years data/portal access | VM 1000 (Refrigerator model)+ 3 years data/portal access | Arktek YBC - 5 | AFVC 46 | FFCB-15L | FFCB-20L | SVS04-22E 4A | AIP3 | TCW 40R AC-spare parts | HBCD - 90-spare parts | DW-25W147-spare parts | TCW 40R SDD -spare parts | VLS 056 RF SDD -spare parts | HTD 40 SDD -spare parts | Fridge-tag 3 annual data subscription | In-person refrigerators and freezers installation, maintenance , and repair | Remote RTMD system , technician and general training on refrigerators and freezers
GVR 51 Lite AC | HBC 80 with RTMS (Haier U-Cool bundled) | VLS 504A AC with RTMS (Own integrated) | HBCD - 90 with RTMS (Haier U-Cool bundled) |  | DW-25W147 with RTMS (Bey. Wire. ICE3 BC141 bundled) | DW-25W300 with RTMS (Bey. Wire. ICE3 BC141 bundled) | GVR 50 DC | VC 88 SDD with RTMS (B Wirless ICE3 BC141) | VC 200 SDD with RTMS (B Wirless ICE3 BC141) | HTCD 90 SDD | HTCD 160 SDD |  | HTD 40 SDD |  |  | Vaxtag (TRID30-7FW) | VM 1000 (WICR Model)+ 3 years data/portal access | ColdTrace 5 (Refrigerator model CT5)+ 3 years data/portal access |  | AFVC 44 |  |  | HVS-1000E | AIIP03 | TCD-100-spare parts | GVR 55 FF AC-spare parts | MF 114-spare parts | GVR 50 DC -spare parts | VC 60 SDD -spare parts |  | ICE3 (BC141) annual data subscription | In-person RTMD system , technician and general training on refrigerators and freezers | Remote RTMD system , technician and general training on WICRs/WIFRs
GVR 51 Lite AC with RTMS (Bey. Wire. ICE3 BC141 bundled) | GVR 75 Lite AC | VC 225 ILR | GVR 55 FF AC |  | MF 114 | MF 314 | GVR 50 DC with RTMS (Bey. Wire. ICE3 BC141 bundled) | VLS 094A SDD | VLS 154A SDD | HTCD 90 SDD with RTMS (Haier U-Cool bundled) | HTCD 160 SDD with RTMS (Haier U-Cool bundled) |  |  |  |  | LogTag USB Cradle | ICE3 EXTRA - MODEL BC440 (2 WICR Model) + 3 years data/portal access | Haier U-Cool (Refrigerator model)+ 3 years data/portal access |  | BK-VC-FF 1.6L |  |  |  | BK V4H | GVR 51 Lite AC-spare parts | VLS 064 RF AC-spare parts | HBD-86-spare parts | CFD-50 SDD -spare parts | GVR 55 FF DC -spare parts |  | Haier U-Cool annual data subscription | In-person RTMD system , technician and general training on WICRs/WIFRs
VLS 174A AC | GVR 75 Lite AC with RTMS (Bey. Wire. ICE3 BC141 bundled) | VC 225 ILR with RTMS (B Wireless ICE3 BC141) | GVR 55 FF AC with RTMS (Bey. Wire. ICE3 BC141 bundled) |  | MF 114 with RTMS (Own integrated) | MF 314 with RTMS (Own integrated) | CFD-50 SDD | VLS 094A SDD with RTMS (Own integrated) | VLS 154A SDD with RTMS (Own integrated) | VLS 056 RF SDD | VC 150 SDD |  |  |  |  | HETL-01 | VM 1000 (2 WICR Model)+ 3 years data/portal access | ICE3 (Refrigerator Model BC141)+ 3 years data/portal access |  | BK-VC-FF 2.4L |  |  |  | BIP-3 | VLS 174A AC-spare parts | TCW120AC-spare parts | DW-25W300-spare parts | VC 50 SDD -spare parts | TCW 2043 SDD -spare parts |  | Vestfrost integrated RTMD annual data subscription
VLS 174A AC with RTMS (own integrated) | TCW 80 AC | HBC 260 | VLS 064 RF AC |  | HBD-86 | HBD-265 | CFD-50 SDD with RTMS (Fridge Tag 3 bundled) | GVR 100 DC | HTC-240 | VLS 056 RF SDD with RTMS (Own integrated) | VC 150 SDD with RTMS (B Wireless ICE3 BC141) | [5 empty] | ICE3 EXTRA - MODEL BC440 (3 WICR Model)+ 3 years data/portal access | Trek Pro (Refrigerator model)+ 3 years data/portal access |  | FFVC-1.7L |  |  |  | WP-0.3L | HBC 80-spare parts |  | MF 314-spare parts | VLS 054A SDD -spare parts | HTCD 160 SDD -spare parts |  | VM 1000 annual data subscription
| VLS 304A AC | HBC 260 with RTMS (Haier U-Cool bundled) | VLS 064 RF AC with RTMS (Own integrated) |  | HBD-86 with RTMS (Bey. Wire. ICE3 BC141 bundled) | HBD-265 with RTMS (Haier U-Cool bundled) | VC 50 SDD | GVR 100 DC with RTMS (Bey. Wire. ICE3 BC141 bundled) | HTC-240 with RTMS (Haier U-Cool bundled) | VC 60 SDD | VLS 096A RF SDD | [8 empty] | BCVC46LFF |  |  |  | AIP4 | GVR 75 Lite AC-spare parts |  | HBD-265-spare parts | HTC 110 SDD -spare parts | VC 150 SDD -spare parts |  | ColdTrace 5 annual data subscription
| VLS 304A AC with RTMS (Own integrated) | GVR 225 AC |  |  |  | DW-25W300 | VC 50 SDD with RTMS (B Wireless ICE3 BC141) | HTC-120 | TCW 4000 SDD | VC 60 SDD with RTMS (B Wirless ICE13 BC141) | VLS 096A RF SDD with RTMS (Own integrated) | [8 empty] | RCW1 |  |  |  | AIIP04 | TCW 80 AC-spare parts |  | TCW120SDD-spare parts | VC 88 SDD -spare parts | VLS 096A RF SDD -spare parts |  | U-Cool LoRa annual data subscription
| VLS 204A AC | GVR 225 AC with RTMS (Bey. Wire. ICE3 BC141 bundled) |  |  |  | DW-25W300 with RTMS (Bey. Wire. ICE3 BC141 bundled) | VLS 054A SDD | HTC-120 with RTMS (Haier U-Cool bundled) |  | GVR 55 FF DC | [13 empty] | BK 4 | VLS 304A AC-spare parts |  | GMF 200 ECO-spare parts | VLS 094A SDD -spare parts | TCD-100 -spare parts |  | ICE3 (BC440) annual data subscription
| VLS 204A AC with RTMS (Own integrated) | TCW 4000 AC |  |  |  | GMF 200 ECO | VLS 054A SDD with RTMS (Own integrated) | TCW 80 SDD |  | GVR 55 FF DC with RTMS (Bey. Wire. ICE3 BC141 bundled) | [13 empty] | BIP-4 | VLS 204A AC-spare parts |  |  | GVR 100 DC -spare parts | TCW120SDD -spare parts |  | VM 1000 (for WICRs) annual data subscription
| GVR 99 Lite AC | Coolfinity IceVolt 300P |  |  |  | GMF 200 ECO with RTMS (Bey. Wire. ICE3 BC141 bundled) | HTC 110 SDD |  |  | TCD-100 | [13 empty] | WP-0.4L | GVR 99 Lite AC-spare parts |  |  | HTC-120 -spare parts | VFS 048 SDD -spare parts |  | Trek Pro annual data subscription
| GVR 99 Lite AC with RTMS (Bey. Wire. ICE3 BC141 bundled) | Coolfinity IceVolt 300P with RTMS (Fridge Tag 3 bundled) |  |  |  |  | HTC 110 SDD with RTMS (Haier U-Cool bundled) |  |  | TCD-100 with RTMS (Bey. Wire. ICE3 BC141 bundled) | [13 empty] | AIP6 | HBC-120-spare parts |  |  | TCW 80 SDD -spare parts | TFW 40 SDD -spare parts
| HBC-120 | [22 empty] | AIIP06 | VLS 504A AC-spare parts |  |  | VC 200 SDD -spare parts
| HBC-120 with RTMS (Haier U-Cool bundled) | [22 empty] | BK 6 | VC 225 ILR-spare parts |  |  | VLS 154A SDD -spare parts
[24 empty] | BIP-6 | HBC 260-spare parts |  |  | HTC-240 -spare parts
[24 empty] | Icepack 0.6L - set of 24 | GVR 225 AC-spare parts |  |  | TCW 4000 SDD -spare parts
[24 empty] | WP-0.6L | TCW 4000 AC-spare parts
Coolfinity IceVolt 300P-spare parts

## Dropdowns3_countries (hidden)
5.0 countries | UNICEF procurement fee
Afghanistan | 8%
Bangladesh | 8.5%
Benin
Burkina Faso
Burundi
Cambodia
Cameroun
CAR
Chad
Comoros
Congo
Congo DRC
Côte d'Ivoire
Djibouti
Eritrea
Ethiopia
Gambia
Ghana
Guinea
Guinea Bissau
Haiti
Kenya
Korea, Republic of
kryzgstan
Lao PDR
Lesotho
Liberia
Madagascar
Malawi
Mali
Mauritania
Mozambique
Myanmar
Nepal
Niger
Pakistan
Rwanda
Senegal
Sierra Leone
Solomon Isl
Somalia
Sudan South
Sudan, Republic of
Syria
Tajikistan
Tanzania
Togo
Uganda
Yemen
Zambia
Zimbabwe