## Cover Page and Instructions
COVAX CCE Support
Country
Links to spreadsheets in this file
CCE Options Summary'
Option A_CCE Model selection'
Option B_CCE Model selection'
Option C_CCE Model selection'
Specified CCE Model Price List'
Instruction
1. This template should be filled by ALL countries applying for COVAX CCE support. All 3 CCE Model Option sheets must be completed for the application to be considered.
2. The 'Specified CCE Model Price List' spreadsheet provides an overview of the planning prices per equipment type: 'PQS indicative equipment unit price' + 'Service bundle estimates'. Applicants are NOT expected to fill this sheet.
a) For budget planning purposes, service bundle estimates are: For Walk in Cold rooms: $11,000- $15,000 (10 cbm); $16,500- $23,000 (30cbm), $18,500- $26,000 (40cbm) Dual Walk-in Cold rooms &Freezer rooms : $ 26,000- $38,000 (25 cbm WIC/15 cbm WIF) On-grid equipment: $400-$1350, Off-grid equipment: $650-$2150 (ground mount panels), $1300- $4000 (pole mount panels) Remote temperature monitoring devices (RTMDs): $200-$400
b) For budget planning purposes, indicative international freight per unit charges have been provided although these may vary depending on destination - sea port delivery versus landlocked countries.
c) Countries should plan their budgets with the service bundle lower limit estimates (e.g. $400 for on-grid equipment) for CCE to be installed in health facilities with low costs of in-country transportation (e.g. short times, high-quality infrastructure), the upper limit estimates (e.g. $2150 for off-grid equipment) for CCE to be installed in health facilities with high costs of in-country transportation (e.g. long travel times, low quality infrastructure) and in-between estimates, as appropriate. Small order quantities may call for budgets towards the upper limits.
d) RTMD is mandatory for central/regional level CCE. For Walk in Cold Rooms and/or freezer rooms, please select an appropriate voltage stabiliser
3. The 'Option A/B/C_ CCE Model selection' spreadsheet should be used to build the budget for (total) requested CCE. Building out all 3 options/budgets are mandatory and should reflect 3 different brand selections (unless there are not three brands available, eg for freeze free cold boxes). For each product category and equipment size (if selecting multiple options of different volume sizes within a product cateogry. eg a large IRL and a smaller ILR) then the number of units should be the same across the three budget sheets. Eg, if you need 100 units of 120L ILRs, each budget options should reflect the same quantity across different brands.
COUNTRY ACTION -> In this sheet, countries should:
a) Select appropriate 'Equipment model' against the listed equipment types.
b) Fill out the 'Estimated service bundle cost' and 'Number of equipment' requested.
- The 'Equipment make', 'Vaccine capacity', "Freezer gross volume', and 'PQS Indicative Prices' will be populated automatically from the 'Specified CCE Model Price List' worksheet.
- Countries need to specifically request for 30 DTR or RTMDs and/or voltage regulators in the line items of the template if purchased for existing (in-country) equipment (as appropriate) only for units where they are planning to store Covid vaccines.
- The funding mechanism will support the purchase of spare parts for newly purchased CCE. Spare parts prices can be found on UNICEF supply catalog
See link for UNICEF Supply catalog for price of spare parts
- A 6% buffer on total equipment cost is built into the budget. This will cover currency variations, demurrage and associated costs.
- A Procurement fee of 5% will be levied on the equipment budget to cover UNICEF administrative costs. For countries opting to lease walk-in cold room capacity, a program support cost of 8% will be levied on the total leasing budget.
4. The 'CCE Options Summary' spreadsheet should be used to compare the total budgets across the selected CCE Model Options
In this sheet Section 1, is auto-populated based on the country inputs mentioned in 'Option A/B/C_ CCE Model selection' spreadsheet.
- Total CCE units for procurement (WICR+ILR+SDD) compares the total number of WICR, WIFR, ILR and SDD units that are procured under Options A, B and C
- Total WICR/FR for leasing compares the total number of WICR units being proposed for long and short-term leasing
- Total leasing costs compares the total leasing costs (including procurement contracting fees)
- Total budget (All devices) compares the total cost of CCE procurement for all device procurements (incl 6% buffer, freight charges, leasing costs and UNICEF procurement fees) under each option and highlights the most cost-effective option on an average $/CCE basis.
COUNTRY ACTION -> In this sheet, countries should:
a) Finalize the CCE Model Option (cell E11)
b) Explain rationale for selecting final CCE Model Option (cell A18)

## CCE Options Summary
Summary comparison of country choices
The purpose of this sheet is to enable decision makers to compare the cost implications of the CCE selection options entered in the CCE Selection sheets (most cost-effective option is highlighted in green). The total units and cost ( cells B11-D12) are auto-populated from inputs in the worksheet (Option A/B/C_CCE Model selection).
Note: The country MUST state its preferred option below only after it has input all three CCE model options in the blue tabbed worksheets (Option A/B/C_CCE Model selection)
Section 1: Comparing cost effectiveness of CCE model options
| Option A | Option B | Option C | Preferred Country option
Total CCE units for procurement (WICR+ILR+SDD) | 0 | 0 | 0
Total WICR units for long-term leasing | 0 | 0 | 0
Total WICR units for short-term 'bridge' leasing | 0 | 0 | 0
Total leasing costs* | 0 | 0 | 0
Total budget (All devices)** | 0 | 0 | 0
*Most cost-effective option
* Includes Procurement service contracting fees
**Total budget row represents the total budget needs including equipment costs, buffer, international freight, leasing costs and UNICEF procurement and contracting fees for each option
Section 2: Please explain the rationale for selecting the final option below

## Option A_CCE Model selection
TOTAL
Type of equipment | Equipment model | Equipment make | Vaccine capacity (L) | Freezer gross volume (L) | PQS indicative equipment unit price $US | Estimated service bundle cost $US | Total unit cost including service bundle cost $US | Number of equipment | Total amount $US
| Select from dropdown list |  |  |  |  | Enter cost within service bundle price range |  | Enter quantity
_1. Walk in cold rooms | [9 empty] | _1.
_1. Walk in cold rooms | [9 empty] | _1.
_2. Walk in cold rooms with freezers | [9 empty] | _2.
_3. Short term lease for Walk in cold rooms | [9 empty] | _3.
_4. Leasing Walk in cold rooms or freezer room | [9 empty] | _4.
_5. On grid ILR_without freezer comp. | [9 empty] | _5.
_6. On grid ILR_with freezer comp. | [9 empty] | _6.
_6. On grid ILR_with freezer comp. | [9 empty] | _6.
_7. On grid freezers | [9 empty] | _7.
_8. Off grid SDD refrigerators_without freezer comp. | [9 empty] | _8.
_8. Off grid SDD refrigerators_without freezer comp. | [9 empty] | _8.
_9. Off grid SDD refrigerators_with freezer comp. | [9 empty] | _9.
_9. Off grid SDD refrigerators_with freezer comp. | [9 empty] | _9.
_9. Off grid SDD refrigerators_with freezer comp. | [9 empty] | _9.
_10. Off grid SDD freezer | [9 empty] | _10
_10. Off grid SDD freezer | [9 empty] | _10
_11. Temperature monitoring device_30DTR | [6 empty] | N/A |  |  | _11
_12. Remote temperature monitoring devices_RTMDs | [9 empty] | _12
_12. Remote temperature monitoring devices_RTMDs | [9 empty] | _12
_13. Standard vaccine carriers | [6 empty] | N/A |  |  | _13
_14. Freeze free vaccine carriers | [6 empty] | N/A |  |  | _14
_15. Standard vaccine cold boxes | [6 empty] | N/A |  |  | _15
_16. Freeze free cold boxes | [6 empty] | N/A |  |  | _16
_17. Voltage regulators for equipment | [6 empty] | N/A |  |  | _17
_18. Ice packs | [6 empty] | N/A |  |  | _18
_19. Spare parts for new ILR equipment without freezer | [6 empty] | N/A |  |  | _19
_20. Spare parts for new ILR equipment with freezer | [6 empty] | N/A |  |  | _20
_21. Spare parts for new freezer equipment | [6 empty] | N/A |  |  | _21
_22. Spare parts for new SDD without freezer comp. | [6 empty] | N/A |  |  | _22
_23. Spare parts for new SDD with freezer comp. | [6 empty] | N/A |  |  | _23
_24. Spare parts for new SDD freezer | [6 empty] | N/A |  |  | _24
Total Equipment Budget (excluding Leasing costs) | [7 empty] | 0
International Freight per unit (WICR/WIFR- Categories 1 and 2) | [7 empty] | 1000
International Freight per unit (ILRs and SDDs- Categories 5- 10) | [7 empty] | 150
International Freight per unit (TMD - Category 11) | [7 empty] | 150
International Freight per unit (RTMD- Category 12) | [7 empty] | 150
International Freight per unit (Vaccine carriers- Categories 13 and 14) | [7 empty] | 2
International Freight per unit (Cold boxes Category 15 and 16) | [7 empty] | 10
International Freight per unit (Voltage regulators- Category 17) | [7 empty] | 60
International Freight per unit (Ice packs- Category 18) | [7 empty] | 0.1
Total estimated International Freight Fees $US | [7 empty] | 0
Total Budget (Incl. 6% Additional Buffer and International Freight) | [7 empty] | 0
Procurement Service Fees ( % of Budget Per UNICEF: 5%) Enter %
Estimated Procurement Fees $US | [7 empty] | 0
Total Leasing fees | [7 empty] | 0
Program support cost (% of leasing costs per UNICEF: 8%) Enter %
Estimated Program Support Cost $US | [7 empty] | 0
Total Budget (Including 6% additional buffer, International Freight, leasing fees and UNICEF Procurement or contracting fees) $US | [7 empty] | 0

## Option B_CCE Model selection
TOTAL
Type of equipment | Equipment model | Equipment make | Vaccine capacity (L) | Freezer gross volume (L) | PQS indicative equipment unit price $US | Estimated service bundle cost $US | Total unit cost including service bundle cost $US | Number of equipment | Total amount $US
| Select from dropdown list |  |  |  |  | Enter cost within service bundle price range |  | Enter quantity
_1. Walk in cold rooms | [9 empty] | _1.
_1. Walk in cold rooms | [9 empty] | _1.
_2. Walk in cold rooms with freezers | [9 empty] | _2.
_3. Short term lease for Walk in cold rooms | [9 empty] | _3.
_4. Leasing Walk in cold rooms or freezer room | [9 empty] | _4.
_5. On grid ILR_without freezer comp. | [9 empty] | _5.
_6. On grid ILR_with freezer comp. | [9 empty] | _6.
_6. On grid ILR_with freezer comp. | [9 empty] | _6.
_7. On grid freezers | [9 empty] | _7.
_8. Off grid SDD refrigerators_without freezer comp. | [9 empty] | _8.
_8. Off grid SDD refrigerators_without freezer comp. | [9 empty] | _8.
_9. Off grid SDD refrigerators_with freezer comp. | [9 empty] | _9.
_9. Off grid SDD refrigerators_with freezer comp. | [9 empty] | _9.
_9. Off grid SDD refrigerators_with freezer comp. | [9 empty] | _9.
_10. Off grid SDD freezer | [9 empty] | _10
_10. Off grid SDD freezer | [9 empty] | _10
_11. Temperature monitoring device_30DTR | [6 empty] | N/A |  |  | _11
_12. Remote temperature monitoring devices_RTMDs | [9 empty] | _12
_12. Remote temperature monitoring devices_RTMDs | [9 empty] | _12
_13. Standard vaccine carriers | [6 empty] | N/A |  |  | _13
_14. Freeze free vaccine carriers | [6 empty] | N/A |  |  | _14
_15. Standard vaccine cold boxes | [6 empty] | N/A |  |  | _15
_16. Freeze free cold boxes | [6 empty] | N/A |  |  | _16
_17. Voltage regulators for equipment | [6 empty] | N/A |  |  | _17
_18. Ice packs | [6 empty] | N/A |  |  | _18
_19. Spare parts for new ILR equipment without freezer | [6 empty] | N/A |  |  | _19
_20. Spare parts for new ILR equipment with freezer | [6 empty] | N/A |  |  | _20
_21. Spare parts for new freezer equipment | [6 empty] | N/A |  |  | _21
_22. Spare parts for new SDD without freezer comp. | [6 empty] | N/A |  |  | _22
_23. Spare parts for new SDD with freezer comp. | [6 empty] | N/A
_24. Spare parts for new SDD freezer | [6 empty] | N/A |  |  | _24
Total Equipment Budget (excluding Leasing costs) | [7 empty] | 0
International Freight per unit (WICR/WIFR- Categories 1 and 2) | [7 empty] | 1000
International Freight per unit (ILRs and SDDs- Categories 5- 10) | [7 empty] | 150
International Freight per unit (TMD - Category 11) | [7 empty] | 150
International Freight per unit (RTMD- Category 12) | [7 empty] | 150
International Freight per unit (Vaccine carriers- Categories 13 and 14) | [7 empty] | 2
International Freight per unit (Cold boxes Category 15 and 16) | [7 empty] | 10
International Freight per unit (Voltage regulators- Category 17) | [7 empty] | 60
International Freight per unit (Ice packs- Category 18) | [7 empty] | 0.1
Total estimated International Freight Fees $US | [7 empty] | 0
Total Budget (Incl. 6% Additional Buffer and International Freight) | [7 empty] | 0
Procurement Service Fees ( % of Budget Per UNICEF: 5%) Enter %
Estimated Procurement Fees $US | [7 empty] | 0
Total Leasing fees | [7 empty] | 0
Program support cost (% of leasing costs per UNICEF: 8%) Enter %
Estimated Program Support Cost $US | [7 empty] | 0
Total Budget (Including 6% additional buffer, International Freight, leasing fees and UNICEF Procurement or contracting fees) $US | [7 empty] | 0

## Option C_CCE Model selection
TOTAL
Type of equipment | Equipment model | Equipment make | Vaccine capacity (L) | Freezer gross volume (L) | PQS indicative equipment unit price $US | Estimated service bundle cost $US | Total unit cost including service bundle cost $US | Number of equipment | Total amount $US
| Select from dropdown list |  |  |  |  | Enter cost within service bundle price range |  | Enter quantity
_1. Walk in cold rooms | [9 empty] | _1.
_1. Walk in cold rooms | [9 empty] | _1.
_2. Walk in cold rooms with freezers | [9 empty] | _2.
_3. Short term lease for Walk in cold rooms | [9 empty] | _3.
_4. Leasing Walk in cold rooms or freezer room | [9 empty] | _4.
_5. On grid ILR_without freezer comp. | [9 empty] | _5.
_6. On grid ILR_with freezer comp. | [9 empty] | _6.
_6. On grid ILR_with freezer comp. | [9 empty] | _6.
_7. On grid freezers | [9 empty] | _7.
_8. Off grid SDD refrigerators_without freezer comp. | [9 empty] | _8.
_8. Off grid SDD refrigerators_without freezer comp. | [9 empty] | _8.
_9. Off grid SDD refrigerators_with freezer comp. | [9 empty] | _9.
_9. Off grid SDD refrigerators_with freezer comp. | [9 empty] | _9.
_9. Off grid SDD refrigerators_with freezer comp. | [9 empty] | _9.
_10. Off grid SDD freezer | [9 empty] | _10
_10. Off grid SDD freezer | [9 empty] | _10
_11. Temperature monitoring device_30DTR | [6 empty] | N/A |  |  | _11
_12. Remote temperature monitoring devices_RTMDs | [9 empty] | _12
_12. Remote temperature monitoring devices_RTMDs | [9 empty] | _12
_13. Standard vaccine carriers | [6 empty] | N/A |  |  | _13
_14. Freeze free vaccine carriers | [6 empty] | N/A |  |  | _14
_15. Standard vaccine cold boxes | [6 empty] | N/A |  |  | _15
_16. Freeze free cold boxes | [6 empty] | N/A |  |  | _16
_17. Voltage regulators for equipment | [6 empty] | N/A |  |  | _17
_18. Ice packs | [6 empty] | N/A |  |  | _18
_19. Spare parts for new ILR equipment without freezer | [6 empty] | N/A |  |  | _19
_20. Spare parts for new ILR equipment with freezer | [6 empty] | N/A |  |  | _20
_21. Spare parts for new freezer equipment | [6 empty] | N/A
_22. Spare parts for new SDD without freezer comp. | [6 empty] | N/A |  |  | _22
_23. Spare parts for new SDD with freezer comp. | [6 empty] | N/A |  |  | _23
_24. Spare parts for new SDD freezer | [6 empty] | N/A |  |  | _24
Total Equipment Budget (excluding Leasing costs) | [7 empty] | 0
International Freight per unit (WICR/WIFR- Categories 1 and 2) | [7 empty] | 1000
International Freight per unit (ILRs and SDDs- Categories 5- 10) | [7 empty] | 150
International Freight per unit (TMD - Category 11) | [7 empty] | 150
International Freight per unit (RTMD- Category 12) | [7 empty] | 150
International Freight per unit (Vaccine carriers- Categories 13 and 14) | [7 empty] | 2
International Freight per unit (Cold boxes Category 15 and 16) | [7 empty] | 10
International Freight per unit (Voltage regulators- Category 17) | [7 empty] | 60
International Freight per unit (Ice packs- Category 18) | [7 empty] | 0.1
Total estimated International Freight Fees $US | [7 empty] | 0
Total Budget (Incl. 6% Additional Buffer and International Freight) | [7 empty] | 0
Procurement Service Fees ( % of Budget Per UNICEF: 5%) Enter %
Estimated Procurement Fees $US | [7 empty] | 0
Total Leasing fees | [7 empty] | 0
Program support cost (% of leasing costs per UNICEF: 8%) Enter %
Estimated Program Support Cost $US | [7 empty] | 0
Total Budget (Including 6% additional buffer, International Freight, leasing fees and UNICEF Procurement or contracting fees) $US | [7 empty] | 0

## Specified CCE Model Price List
Cold Chain Equipment List and Prices
[9 empty] | Refer to these columns for on-grid device SB ranges and ground mounted solar panel installations |  | Refer to these columns for pole mounted solar panel installations
Index | Type of equipment and source of energy | Capacity segment (L) | Equipment make | Equipment model | Vaccine capacity (L) | Freezer gross volume (L) | Holdover/ Autonomy (days) | PQS indicative equipment unit price $US | Service bundle indicative cost $US (Lower limit with Ground Mounts for Solar panels) | Service bundle indicative cost $US (Upper limit with ground mounted solar panels for SDD) | Service bundle indicative cost $US (Lower limit Pole mounts) | Service bundle indicative cost $US (Upper limit with Pole Mounts ) | Total unit cost $US (lower limit ILR+ Ground mount) | Total unit cost $US (upper limit ILR+ Ground mount) |  | Type of equipment |  | Solar Panel Mounting
1 | _1. Walk-in cold rooms | 10 cbm | Foster | Foster 10 cbm (Mono cooling unit) | 10000 | - | - | 16405.459 | 11000 | 15000 | NA | NA | 27405.459 | 31405.459 |  | _1. Walk in cold rooms | _1.Walkincoldrooms
2 | _1. Walk-in cold rooms | 10 cbm | Haier | Haier 10 cbm (Mono cooling unit) | 10000 | - | - | 11900 | 11000 | 15000 | NA | NA | 22900 | 26900 |  | _2. Walk in cold rooms with freezers | _2.Walkincoldroomswithfreezers
3 | _1. Walk-in cold rooms | 10 cbm | Porkka | Porkka 10 cbm (Mono cooling unit) | 10000 | - | - | 17076.5 | 11000 | 15000 | NA | NA | 28076.5 | 32076.5 |  | _3. Short term lease for Walk in cold rooms | _3.ShorttermleaseforWalkincoldrooms
4 | _1. Walk-in cold rooms | 10 cbm | Viessmann | Viessmann 10 cbm (Mono cooling unit) | 10000 | - | - | 19658.8 | 11000 | 15000 | NA | NA | 30658.8 | 34658.8 |  | _4. Leasing Walk in cold rooms or freezer room | _4.LeasingWalkincoldroomsorfreezerroom | N/A
5 | _1. Walk-in cold rooms | 10 cbm | Zhendre | Zhendre 10 cbm (Mono cooling unit) | 10000 | - | - | 15368.85 | 11000 | 15000 | NA | NA | 26368.85 | 30368.85 |  | _5. On grid ILR_without freezer comp. | _5.OngridILR_withoutfreezercomp. | Pole Mount
6 | _1. Walk-in cold rooms | 30 cbm | Foster | Foster 30 cbm (Mono cooling unit) | 30000 | - | - | 23777.2234 | 16500 | 23000 | NA | NA | 40277.2234 | 46777.2234 |  | _6. On grid ILR_with freezer comp. | _6.OngridILR_withfreezercomp. | Ground Mount
7 | _1. Walk-in cold rooms | 30 cbm | Haier | Haier 30 cbm (Mono cooling unit) | 30000 | - | - | 18900 | 16500 | 23000 | NA | NA | 35400 | 41900 |  | _7. On grid freezers | _7.Ongridfreezers
8 | _1. Walk-in cold rooms | 30 cbm | Haier | Haier 30 cbm (Split cooling unit) | 30000 | - | - | 22600 | 16500 | 23000 | NA | NA | 39100 | 45600 |  | _8. Off grid SDD refrigerators_without freezer comp. | _8.OffgridSDDrefrigerators_withoutfreezercomp.
9 | _1. Walk-in cold rooms | 30 cbm | Porkka | Porkka 30 cbm (Mono cooling unit) | 30000 | - | - | 23573.9 | 16500 | 23000 | NA | NA | 40073.9 | 46573.9 |  | _9. Off grid SDD refrigerators_with freezer comp. | _9.OffgridSDDrefrigerators_withfreezercomp.
10 | _1. Walk-in cold rooms | 30 cbm | Porkka | Porkka 30 cbm (Split cooling unit) | 30000 | - | - | 26120.5 | 16500 | 23000 | NA | NA | 42620.5 | 49120.5 |  | _10. Off grid SDD freezer | _10.OffgridSDDfreezer
11 | _1. Walk-in cold rooms | 30 cbm | Viessmann | Viessmann 30 cbm (Mono cooling unit) | 30000 | - | - | 26072.9 | 16500 | 23000 | NA | NA | 42572.9 | 49072.9 |  | _11. Temperature monitoring device_30DTR | _11.Temperaturemonitoringdevice_30DTR
12 | _1. Walk-in cold rooms | 30 cbm | Viessmann | Viessmann 30 cbm (Split cooling unit) | 30000 | - | - | 26775 | 16500 | 23000 | NA | NA | 43275 | 49775 |  | _12. Remote temperature monitoring devices_RTMDs | _12.Remotetemperaturemonitoringdevices_RTMDs
13 | _1. Walk-in cold rooms | 30 cbm | Zhendre | Zhendre 30 cbm (Mono cooling unit) | 30000 | - | - | 22225.63 | 16500 | 23000 | NA | NA | 38725.63 | 45225.63 |  | _13. Standard vaccine carriers | _13.Standardvaccinecarriers
14 | _1. Walk-in cold rooms | 30 cbm | Zhendre | Zhendre 30 cbm (Split cooling unit) | 30000 | - | - | 25318.44 | 16500 | 23000 | NA | NA | 41818.44 | 48318.44 |  | _14. Freeze free vaccine carriers | _14.Freezefreevaccinecarriers
15 | _1. Walk-in cold rooms | 40 cbm | Foster | Foster 40 cbm (Mono cooling unit) | 40000 | - | - | 25132.6334 | 18500 | 26000 | NA | NA | 43632.6334 | 51132.6334 |  | _15. Standard vaccine cold boxes | _15.Standardvaccinecoldboxes
16 | _1. Walk-in cold rooms | 40 cbm | Haier | Haier 40 cbm (Mono cooling unit) | 40000 | - | - | 21100 | 18500 | 26000 | NA | NA | 39600 | 47100 |  | _16. Freeze free cold boxes | _16.Freezefreecoldboxes
17 | _1. Walk-in cold rooms | 40 cbm | Haier | Haier 40 cbm (Split cooling unit) | 40000 | - | - | 23100 | 18500 | 26000 | NA | NA | 41600 | 49100 |  | _17. Voltage regulators for equipment | _17.Voltageregulatorsforequipment
18 | _1. Walk-in cold rooms | 40 cbm | Porkka | Porkka 40 cbm (Mono cooling unit) | 40000 | - | - | 26596.5 | 18500 | 26000 | NA | NA | 45096.5 | 52596.5 |  | _18. Ice packs | _18.Icepacks
19 | _1. Walk-in cold rooms | 40 cbm | Porkka | Porkka 40 cbm (Split cooling unit) | 40000 | - | - | 30404.5 | 18500 | 26000 | NA | NA | 48904.5 | 56404.5 |  | _19. Spare parts for new ILR equipment without freezer | _19.SparepartsfornewILRequipmentwithoutfreezer
20 | _1. Walk-in cold rooms | 40 cbm | Viessmann | Viessmann 40 cbm (Mono cooling unit) | 40000 | - | - | 27988.8 | 18500 | 26000 | NA | NA | 46488.8 | 53988.8 |  | _20. Spare parts for new ILR equipment with freezer | _20.SparepartsfornewILRequipmentwithfreezer
21 | _1. Walk-in cold rooms | 40 cbm | Viessmann | Viessmann 40 cbm (Split cooling unit) | 40000 | - | - | 28702.8 | 18500 | 26000 | NA | NA | 47202.8 | 54702.8 |  | _21. Spare parts for new freezer equipment | _21.Sparepartsfornewfreezerequipment
22 | _1. Walk-in cold rooms | 40 cbm | Zhendre | Zhendre 40 cbm (Mono cooling unit) | 40000 | - | - | 25007.85 | 18500 | 26000 | NA | NA | 43507.85 | 51007.85 |  | _22. Spare parts for new SDD without freezer comp. | _22.SparepartsfornewSDDwithoutfreezercomp.
23 | _1. Walk-in cold rooms | 40 cbm | Zhendre | Zhendre 40 cbm (Split cooling unit) | 40000 | - | - | 28492.17 | 18500 | 26000 | NA | NA | 46992.17 | 54492.17 |  | _23. Spare parts for new SDD with freezer comp. | _23.SparepartsfornewSDDwithfreezercomp.
24 | _2. Walk-in cold rooms with freezers | 40 cbm | Haier | Haier 40cbm (Mono cooling unit) | 25000 | 15000 | - | 27500 | 26000 | 38000 | NA | NA | 53500 | 65500 |  | _24. Spare parts for new SDD freezer | _24.SparepartsfornewSDDfreezer
25 | _2. Walk-in cold rooms with freezers | 40 cbm | Haier | Haier 40cbm (Split cooling unit) | 25000 | 15000 | - | 36500 | 26000 | 38000 | NA | NA | 62500 | 74500
26 | _2. Walk-in cold rooms with freezers | 40 cbm | Porkka | Porkka 40cbm (Mono cooling unit) | 25000 | 15000 | - | 34596 | 26000 | 38000 | NA | NA | 60596 | 72596
27 | _2. Walk-in cold rooms with freezers | 40 cbm | Porkka | Porkka 40cbm (Split cooling unit) | 25000 | 15000 | - | 43099 | 26000 | 38000 | NA | NA | 69099 | 81099
28 | _2. Walk-in cold rooms with freezers | 40 cbm | Viessmann | Viessmann 40cbm (Mono cooling unit) | 25000 | 15000 | - | 45439 | 26000 | 38000 | NA | NA | 71439 | 83439
29 | _2. Walk-in cold rooms with freezers | 40 cbm | Viessmann | Viessmann 40cbm (Split cooling unit) | 25000 | 15000 | - | 48339 | 26000 | 38000 | NA | NA | 74339 | 86339
30 | _2. Walk-in cold rooms with freezers | 40 cbm | Zhendre | Zhendre 40cbm (Mono cooling unit) | 25000 | 15000 | - | 38626 | 26000 | 38000 | NA | NA | 64626 | 76626
31 | _2. Walk-in cold rooms with freezers | 40 cbm | Zhendre | Zhendre 40cbm (Split cooling unit) | 25000 | 15000 | - | 45680 | 26000 | 38000 | NA | NA | 71680 | 83680
32 | _3. Short term lease for Walk-in cold rooms | 10 cbm | - | 10 cbm | 10000 | - | - | 5500 | NA | NA | NA | NA | 5500 | 5500
33 | _3. Short term lease for Walk-in cold rooms | 20 cbm | - | 20 cbm | 20000 | - | - | 8500 | NA | NA | NA | NA | 8500 | 8500
34 | _3. Short term lease for Walk-in cold rooms | 30 cbm | - | 30 cbm | 30000 | - | - | 8500 | NA | NA | NA | NA | 8500 | 8500
35 | _3. Short term lease for Walk-in cold rooms | 40 cbm | - | 40 cbm | 40000 | - | - | 9500 | NA | NA | NA | NA | 9500 | 9500
36 | _4. Leasing Walk-in cold room or freezer room | 10 cbm | - | 10 cbm LT | 10000 | - | - | 16550 | NA | NA | NA | NA | 16550 | 16550
37 | _4. Leasing Walk-in cold room or freezer room | 20 cbm | - | 20 cbm LT | 20000 | - | - | 26605.25 | NA | NA | NA | NA | 26605.25 | 26605.25
38 | _4. Leasing Walk-in cold room or freezer room | 30 cbm | - | 30 cbm LT | 30000 | - | - | 25318.44 | NA | NA | NA | NA | 25318.44 | 25318.44
39 | _4. Leasing Walk-in cold room or freezer room | 40 cbm | - | 40 cbm LT | 40000 | - | - | 28492.17 | NA | NA | NA | NA | 28492.17 | 28492.17
40 | _5. On grid ILR_without freezer comp. | <30L | Zero | ZLF 30 AC | 27 | - | 3.2167 | 1250 | 400 | 1350 | NA | NA | 1650 | 2600
41 | _5. On grid ILR_without freezer comp. | <30L | Godrej & Boyce | GVR 25 Lite | 27.5 | - | 2.2083 | 800 | 400 | 1350 | NA | NA | 1200 | 2150 | 1. Countries should plan with these prices if they request specific CCE make and model
42 | _5. On grid ILR_without freezer comp. | 30 - <60L | B Medical | TCW 40R AC | 36.5 | - | 5.0792 | 3229.5455 | 400 | 1350 | NA | NA | 3629.5455 | 4579.5455 | 2. Indicative PQS prices are from the most recent WHO PQS price list as of November 2020. Accessible via:
43 | _5. On grid ILR_without freezer comp. | 30 - <60L | Godrej & Boyce | GVR 50 AC | 46.8 | - | 7.5833 | 1642 | 400 | 1350 | NA | NA | 2042 | 2992 | WHO PQS Catalogue
44 | _5. On grid ILR_without freezer comp. | 30 - <60L | Aucma | CFD-50 | 50 | - | 5.625 | 1400 | 400 | 1350 | NA | NA | 1800 | 2750 | 3. Indicated PQS Unit/UNICEF LTA prices are for planning purposes and are the highest unit prices provided for each equipment
45 | _5. On grid ILR_without freezer comp. | 30 - <60L | Godrej & Boyce | GVR 51 Lite AC | 51 | - | 2.2917 | 999 | 400 | 1350 | NA | NA | 1399 | 2349 | 4. Service bundle costs are Gavi planning estimates. Lower limit estimates should be used for facilities closest to the distribution point while the upper limit estimates should be used for facilities farthest from the distribution point.
46 | _5. On grid ILR_without freezer comp. | 60 - <90L | Vestfrost | VLS 204A | 60 | - | 2.25 | 911.3636 | 400 | 1350 | NA | NA | 1311.3636 | 2261.3636 | *Purchases for 30DTRs should be limited to equipment storing Covid vaccine only
47 | _5. On grid ILR_without freezer comp. | 60 - <90L | Haier | HBC 80 | 61 | - | 1.325 | 718 | 400 | 1350 | NA | NA | 1118 | 2068 | *Purchases for voltage regulators is limited to equipment storing Covid vaccines only
48 | _5. On grid ILR_without freezer comp. | 60 - <90L | Godrej & Boyce | GVR 75 Lite AC | 72.5 | - | 3.375 | 1030 | 400 | 1350 | NA | NA | 1430 | 2380
49 | _5. On grid ILR_without freezer comp. | 60 - <90L | Zero | ZLF 80 AC | 77 | - | 4.3868 | 1990 | 400 | 1350 | NA | NA | 2390 | 3340
50 | _5. On grid ILR_without freezer comp. | 60 - <90L | B Medical | TCW 80 AC | 80.5 | - | 3.0063 | 3481.8182 | 400 | 1350 | NA | NA | 3881.8182 | 4831.8182
51 | _5. On grid ILR_without freezer comp. | 90 - <120L | Vestfrost | VLS 304A AC | 98 | - | 2.2708 | 1085.2273 | 400 | 1350 | NA | NA | 1485.2273 | 2435.2273
52 | _5. On grid ILR_without freezer comp. | 90 - <120L | Godrej & Boyce | GVR 99 Lite AC | 98.5 | - | 2.4819 | 1074 | 400 | 1350 | NA | NA | 1474 | 2424
53 | _5. On grid ILR_without freezer comp. | 90 - <120L | Zero | ZLF 100 AC | 99 | - | 4.7375 | 1950 | 400 | 1350 | NA | NA | 2350 | 3300
54 | _5. On grid ILR_without freezer comp. | 90 - <120L | Godrej & Boyce | GVR 100 AC | 99 | - | 12.5125 | 2355 | 400 | 1350 | NA | NA | 2755 | 3705
55 | _5. On grid ILR_without freezer comp. | 90 - <120L | Haier | HBC-120 | 100 | - | 5.3667 | 1700 | 400 | 1350 | NA | NA | 2100 | 3050
56 | _5. On grid ILR_without freezer comp. | >120L | Haier | HBC 150 | 122 | - | 1.2604 | 918 | 400 | 1350 | NA | NA | 1318 | 2268
57 | _5. On grid ILR_without freezer comp. | >120L | Vestfrost | VLS 354A AC | 127 | - | 2.2792 | 1201.1364 | 400 | 1350 | NA | NA | 1601.1364 | 2551.1364
58 | _5. On grid ILR_without freezer comp. | >120L | Zero | ZLF 150 AC | 128 | - | 5.3417 | 2300 | 400 | 1350 | NA | NA | 2700 | 3650
59 | _5. On grid ILR_without freezer comp. | >120L | Vestfrost | VLS 404A AC | 145 | - | 2.2917 | 1293.1818 | 400 | 1350 | NA | NA | 1693.1818 | 2643.1818
60 | _5. On grid ILR_without freezer comp. | >120L | Haier | HBC-240 | 200 | - | 3.6347 | 1800 | 400 | 1350 | NA | NA | 2200 | 3150
61 | _5. On grid ILR_without freezer comp. | >120L | Dulas Solar | VC 225 ILR | 203.2 | - | 3.9167 | 3181.8182 | 400 | 1350 | NA | NA | 3581.8182 | 4531.8182
62 | _5. On grid ILR_without freezer comp. | >120L | Haier | HBC 260 | 211 | - | 1.4417 | 1068 | 400 | 1350 | NA | NA | 1468 | 2418
63 | _5. On grid ILR_without freezer comp. | >120L | Godrej & Boyce | GVR 225 AC | 225 | - | 2.2917 | 1910 | 400 | 1350 | NA | NA | 2310 | 3260
64 | _5. On grid ILR_without freezer comp. | >120L | B Medical | TCW 4000 AC | 240 | - | 3.2208 | 4500 | 400 | 1350 | NA | NA | 4900 | 5850
65 | _5. On grid ILR_without freezer comp. | >120L | Vestfrost | VLS 504A AC | 242 | - | 2.3029 | 2039.7727 | 400 | 1350 | NA | NA | 2439.7727 | 3389.7727
66 | _6. On grid ILR_with freezer comp. | 30 - <60L | Haier | HBCD - 90 | 30 | 32 | 2.6583 | 1650 | 400 | 1350 | NA | NA | 2050 | 3000
67 | _6. On grid ILR_with freezer comp. | 30 - <60L | Godrej & Boyce | GVR 55 FF AC | 58 | 44 | 4.734 | 1410 | 400 | 1350 | NA | NA | 1810 | 2760
68 | _6. On grid ILR_with freezer comp. | 30 - <60L | Vestfrost | VLS 064 RF AC | 52.5 | 5.1 | 1.1823 | 1360.2273 | 400 | 1350 | NA | NA | 1760.2273 | 2710.2273
69 | _6. On grid ILR_with freezer comp. | 60 - <90L | B Medical | TCW 2000 AC | 60 | 42 | 1.6417 | 3710.2273 | 400 | 1350 | NA | NA | 4110.2273 | 5060.2273
70 | _7. On grid freezers | 90 - <120L | Aucma | DW-25W147 | - | 96 | 0.28056 | 450 | 400 | 1350 | NA | NA | 850 | 1800
71 | _7. On grid freezers | 90 - <120L | Vestfrost | MF 114 | - | 105 | 0.11667 | 553.4091 | 400 | 1350 | NA | NA | 953.4091 | 1903.4091
72 | _7. On grid freezers | >120L | Haier | HBD 116 | - | 121 | 0.10417 | 533 | 400 | 1350 | NA | NA | 933 | 1883
73 | _7. On grid freezers | >120L | Vestfrost | MF 214 | - | 171 | 0.12083 | 632.9545 | 400 | 1350 | NA | NA | 1032.9545 | 1982.9545
74 | _7. On grid freezers | >120L | B Medical | TFW 3000 AC | - | 204 | 2.2153 | 3381.8182 | 400 | 1350 | NA | NA | 3781.8182 | 4731.8182
75 | _7. On grid freezers | >120L | Aucma | DW-25W300 | - | 240 | 2.4417 | 540 | 400 | 1350 | NA | NA | 940 | 1890
76 | _7. On grid freezers | >120L | Vestfrost | MF 314 | - | 281 | 0.16667 | 729.5455 | 400 | 1350 | NA | NA | 1129.5455 | 2079.5455
77 | _7. On grid freezers | >120L | Haier | HBD 286 | - | 298 | 0.17083 | 628 | 400 | 1350 | NA | NA | 1028 | 1978
78 | _8. Off grid SDD refrigerators_without freezer comp. | <30L | SunDanzer | BFRV 15 SDD | 15 | - | 4.2213 | 2420 | 650 | 2150 | 1250 | 4000 | 3070 | 4570
79 | _8. Off grid SDD refrigerators_without freezer comp. | <30L | B Medical | TCW 15R SDD | 16 | - | 3.4083 | 4905.6818 | 650 | 2150 | 1250 | 4000 | 5555.6818 | 7055.6818
80 | _8. Off grid SDD refrigerators_without freezer comp. | <30L | B Medical | Ultra 16 SDD | 16 | - | 19.9167 | 5946.5909 | 650 | 2150 | 1250 | 4000 | 6596.5909 | 8096.5909
81 | _8. Off grid SDD refrigerators_without freezer comp. | <30L | Haier | HTC 40 SDD | 22.5 | - | 4.875 | 2400 | 650 | 2150 | 1250 | 4000 | 3050 | 4550
82 | _8. Off grid SDD refrigerators_without freezer comp. | <30L | Dulas Solar | VC 30 SDD | 25.5 | - | 3.0063 | 2897.7273 | 650 | 2150 | 1250 | 4000 | 3547.7273 | 5047.7273
83 | _8. Off grid SDD refrigerators_without freezer comp. | <30L | Vestfrost | VLS 024 SDD | 25.5 | - | 3.4042 | 3034.0909 | 650 | 2150 | 1250 | 4000 | 3684.0909 | 5184.0909
84 | _8. Off grid SDD refrigerators_without freezer comp. | <30L | Zero | ZLF 30DC SDD | 27 | - | 3.2118 | 2920 | 650 | 2150 | 1250 | 4000 | 3212 | 4712
85 | _8. Off grid SDD refrigerators_without freezer comp. | <30L | Godrej & Boyce | GVR 25 Lite DC | 27.5 | - | 3.9792 | 2562 | 650 | 2150 | 1250 | 4000 | 3570 | 5070
86 | _8. Off grid SDD refrigerators_without freezer comp. | 30 - <60L | B Medical | TCW 40R SDD | 36 | - | 3.4125 | 5806.8182 | 650 | 2150 | 1250 | 4000 | 6456.8182 | 7956.8182
87 | _8. Off grid SDD refrigerators_without freezer comp. | 30 - <60L | Godrej & Boyce | GVR 50 DC | 46.5 | - | 5.6167 | 3450 | 650 | 2150 | 1250 | 4000 | 4100 | 5600
88 | _8. Off grid SDD refrigerators_without freezer comp. | 30 - <60L | Aucma | CFD-50 SDD | 50 | - | 5 | 2600 | 650 | 2150 | 1250 | 4000 | 3250 | 4750
89 | _8. Off grid SDD refrigerators_without freezer comp. | 30 - <60L | Dulas Solar | VC 50 SDD | 52.5 | - | 3.1 | 3125 | 650 | 2150 | 1250 | 4000 | 3775 | 5275
90 | _8. Off grid SDD refrigerators_without freezer comp. | 30 - <60L | SunDanzer | BFRV 55 SDD | 54.5 | - | 3.4785 | 3165 | 650 | 2150 | 1250 | 4000 | 3815 | 5315
91 | _8. Off grid SDD refrigerators_without freezer comp. | 30 - <60L | Vestfrost | VLS 054A SDD | 55.5 | - | 3.0167 | 3362.5 | 650 | 2150 | 1250 | 4000 | 4012.5 | 5512.5
92 | _8. Off grid SDD refrigerators_without freezer comp. | 30 - <60L | Haier | HTC 110 SDD | 59 | - | 4 | 2650 | 650 | 2150 | 1250 | 4000 | 3300 | 4800
93 | _8. Off grid SDD refrigerators_without freezer comp. | 60 - <90L | Haier | HTC-112 | 75 | - | 3.8653 | 2700 | 650 | 2150 | 1250 | 4000 | 3350 | 4850
94 | _8. Off grid SDD refrigerators_without freezer comp. | 60 - <90L | Dulas Solar | VC 88 SDD | 88 | - | 3.2563 | 4205 | 650 | 2150 | 1250 | 4000 | 4855 | 6355
95 | _8. Off grid SDD refrigerators_without freezer comp. | 60 - <90L | B Medical | TCW 3043 SDD | 89 | - | 4.8617 | 7092.0455 | 650 | 2150 | 1250 | 4000 | 7742.0455 | 9242.0455
96 | _8. Off grid SDD refrigerators_without freezer comp. | 90 - <120L | Vestfrost | VLS 094A SDD | 92 | - | 3.0208 | 3669.3182 | 650 | 2150 | 1250 | 4000 | 4319.3182 | 5819.3182
97 | _8. Off grid SDD refrigerators_without freezer comp. | 90 - <120L | Godrej & Boyce | GVR 100 DC | 99 | - | 7.3312 | 4750 | 650 | 2150 | 1250 | 4000 | 5400 | 6900
98 | _8. Off grid SDD refrigerators_without freezer comp. | 90 - <120L | Zero | ZLF 100 DC | 99 | - | 7.0875 | 4847 | 650 | 2150 | 1250 | 4000 | 5497 | 6997
99 | _8. Off grid SDD refrigerators_without freezer comp. | 90 - <120L | Haier | HTC-120 | 100 | - | 4.6833 | 3620 | 650 | 2150 | 1250 | 4000 | 4270 | 5770
100 | _8. Off grid SDD refrigerators_without freezer comp. | 90 - <120L | Dulas Solar | VC 110 SDD | 110 | - | 3.2563 | 4204.5455 | 650 | 2150 | 1250 | 4000 | 4854.5455 | 6354.5455
101 | _8. Off grid SDD refrigerators_without freezer comp. | >120L | Zero | ZLF 150DC | 128 | - | 4.4958 | 5330 | 650 | 2150 | 1250 | 4000 | 5980 | 7480
102 | _8. Off grid SDD refrigerators_without freezer comp. | >120L | Dulas Solar | VC 200 SDD | 132 | - | 3.3118 | 4431.8182 | 650 | 2150 | 1250 | 4000 | 5081.8182 | 6581.8182
103 | _8. Off grid SDD refrigerators_without freezer comp. | >120L | Vestfrost | VLS 154A SDD | 170 | - | 3.0583 | 4702.2727 | 650 | 2150 | 1250 | 4000 | 5352.2727 | 6852.2727
104 | _8. Off grid SDD refrigerators_without freezer comp. | >120L | Haier | HTC-240 | 200 | - | 3.891 | 4150 | 650 | 2150 | 1250 | 4000 | 4800 | 6300
105 | _8. Off grid SDD refrigerators_without freezer comp. | >120L | B Medical | TCW 4000 SDD | 220 | - | 3.8028 | 7775 | 650 | 2150 | 1250 | 4000 | 8425 | 9925
106 | _9. Off grid SDD refrigerators_with freezer comp. | <30L | B Medical | TCW 15 SDD | 16 | 2.4 | 3.5 | 4944.3182 | 650 | 2150 | 1250 | 4000 | 5594.3182 | 7094.3182
107 | _9. Off grid SDD refrigerators_with freezer comp. | <30L | Vestfrost | VLS 026 RF SDD | 20 | 34.3 | 3.0508 | 5142.0455 | 650 | 2150 | 1250 | 4000 | 5746 | 7246
108 | _9. Off grid SDD refrigerators_with freezer comp. | 30 - <60L | B Medical | TCW 40 SDD | 36 | 4.8 | 3.4125 | 6118.1818 | 650 | 2150 | 1250 | 4000 | 6768.1818 | 8268.1818
109 | _9. Off grid SDD refrigerators_with freezer comp. | 30 - <60L | Haier | HTCD 90 SDD | 37.5 | 32 | 4.7875 | 3950 | 650 | 2150 | 1250 | 4000 | 4600 | 6100
110 | _9. Off grid SDD refrigerators_with freezer comp. | 30 - <60L | Vestfrost | VLS 056 RF SDD | 36 | 34.3 | 3 | 5465.9091 | 650 | 2150 | 1250 | 4000 | 6065.2 | 7565.2
111 | _9. Off grid SDD refrigerators_with freezer comp. | 30 - <60L | Dulas Solar | VC 60 SDD | 57 | 24 | 3.4583 | 5284.0909 | 650 | 2150 | 1250 | 4000 | 5934.0909 | 7434.0909
112 | _9. Off grid SDD refrigerators_with freezer comp. | 30 - <60L | Godrej & Boyce | GVR 55 FF DC | 58 | 44 | 11.8125 | 5500 | 650 | 2150 | 1250 | 4000 | 5746 | 7246
113 | _9. Off grid SDD refrigerators_with freezer comp. | 60 - <90L | B Medical | TCW 2043 SDD | 70 | 42 | 3.0792 | 10298.8636 | 650 | 2150 | 1250 | 4000 | 10948.8636 | 12448.8636
114 | _9. Off grid SDD refrigerators_with freezer comp. | 90 - <120L | Haier | HTCD 160 SDD | 100 | 40 | 5.0604 | 5750 | 650 | 2150 | 1250 | 4000 | 6400 | 7900
115 | _9. Off grid SDD refrigerators_with freezer comp. | 90 - <120L | Dulas Solar | VC 150 SDD | 102 | 42.9 | 3.2496 | 6250 | 650 | 2150 | 1250 | 4000 | 6900 | 8400
116 | _10. Off grid SDD freezer | 30 - <60L | Vestfrost | VFS 048 SDD | - | 34.3 |  | 2965.9091 | 650 | 2150 | 1250 | 4000 | 3615.9091 | 5115.9091
117 | _10. Off grid SDD freezer | 30 - <60L | Haier | HTD 40 SDD | - | 48 | 5 | 2250 | 650 | 2150 | 1250 | 4000 | 2900 | 4400
118 | _10. Off grid SDD freezer | 60 - <90L | B Medical | TFW 40 SDD | - | 64 | 5 | 5402.2727 | 650 | 2150 | 1250 | 4000 | 6052.2727 | 7552.2727
119 | _11. Temperature monitoring device_30DTR | - | Haier | HETL-01 | - | - | - | 23 | 0 | 0 | NA | NA | 23 | 23
120 | _11. Temperature monitoring device_30DTR | - | LogTag | VaxTag 30DTR | - | - | - | 40.8 | 0 | 0 | NA | NA | 40.8 | 40.8
121 | _11. Temperature monitoring device_30DTR | - | Berlinger | Fridge-Tag 2 | - | - | - | 44 | 0 | 0 | NA | NA | 44 | 44
122 | _11. Temperature monitoring device_30DTR | - | Berlinger | Fridge-Tag 2 E | - | - | - | 73 | 0 | 0 | NA | NA | 73 | 73
123 | _11. Temperature monitoring device_30DTR | - | ELPRO-BUCHS AG | LIBERO Ti1 | - | - | - | 130 | 0 | 0 | NA | NA | 130 | 130
124 | _12. Remote temperature monitoring devices_RTMDs | - | Beyond Wireless | ICE3 (WICR Model BC141) + 3 years data/portal access | - | - | - | 1595 | 200 | 400 | NA | NA | 1795 | 1995
125 | _12. Remote temperature monitoring devices_RTMDs | - | Blulog | TDL2-5Y data logger (WICR Model)+ 3 years data/portal access | - | - | - | 1699.5 | 200 | 400 | NA | NA | 1899.5 | 2099.5
126 | _12. Remote temperature monitoring devices_RTMDs | - | Ikhaya | VM 1000 (WICR Model)+ 3 years data/portal access | - | - | - | 1196.88 | 200 | 400 | NA | NA | 1396.88 | 1596.88
127 | _12. Remote temperature monitoring devices_RTMDs | - | Beyond Wireless | ICE3 EXTRA - MODEL BC440 (2 WICR Model) + 3 years data/portal access | - | - | - | 2250 | 200 | 400 | NA | NA | 2450 | 2650
128 | _12. Remote temperature monitoring devices_RTMDs | - | Blulog | TDL2-5Y data logger (2 WICR Model) + 3 years data/portal access | - | - | - | 2158.5 | 200 | 400 | NA | NA | 2358.5 | 2558.5
129 | _12. Remote temperature monitoring devices_RTMDs | - | Ikhaya | VM 1000 (2 WICR Model)+ 3 years data/portal access | - | - | - | 1696.88 | 200 | 400 | NA | NA | 1896.88 | 2096.88
130 | _12. Remote temperature monitoring devices_RTMDs | - | Beyond Wireless | ICE3 EXTRA - MODEL BC440 (3 WICR Model)+ 3 years data/portal access | - | - | - | 2805 | 200 | 400 | NA | NA | 3005 | 3205
131 | _12. Remote temperature monitoring devices_RTMDs | - | Blulog | TDL2-5Y data logger (3 WICR Model)+ 3 years data/portal access | - | - | - | 2616.5 | 200 | 400 | NA | NA | 2816.5 | 3016.5
132 | _12. Remote temperature monitoring devices_RTMDs | - | Ikhaya | VM 1000 (Refrigerator model)+ 3 years data/portal access | - | - | - | 1117.88 | 200 | 400 | NA | NA | 1317.88 | 1517.88
133 | _12. Remote temperature monitoring devices_RTMDs | - | Blulog | TDL2-5Y data logger (Refrigerator Model)+ 3 years data/portal access | - | - | - | 1203.5 | 200 | 400 | NA | NA | 1403.5 | 1603.5
134 | _12. Remote temperature monitoring devices_RTMDs | - | Nexleaf | ColdTrace 5 (Refrigerator model CT5)+ 3 years data/portal access | - | - | - | 531 | 200 | 400 | NA | NA | 731 | 931
135 | _12. Remote temperature monitoring devices_RTMDs | - | Berlinger | Fridge-tag 3 GSM (Refrigerator model)+ 3 years data/portal access | - | - | - | 1077.27 | 200 | 400 | NA | NA | 1277.27 | 1477.27
136 | _12. Remote temperature monitoring devices_RTMDs | - | Haier | Haier U-Cool (Refrigerator model)+ 3 years data/portal access | - | - | - | 460.1 | 200 | 400 | NA | NA | 660.1 | 860.1
137 | _12. Remote temperature monitoring devices_RTMDs | - | Beyond Wireless | ICE3 (Refrigerator Model BC141)+ 3 years data/portal access | - | - | - | 1210 | 200 | 400 | NA | NA | 1410 | 1610
138 | _13. Standard vaccine carriers | <5L | AOV | ADVC24 | 0.8 | - | 0.83333 | 12.62 | 0 | 0 | NA | NA | 8 | 8
139 | _13. Standard vaccine carriers | <5L | APEX | AIDVC24 | 0.9 | - | 0.875 | 5.99 | 0 | 0 | NA | NA | 7.5 | 7.5
140 | _13. Standard vaccine carriers | <5L | Blow Kings | VDC 24-CF | 0.9 | - | 0.83333 | 6.4 | 0 | 0 | NA | NA | 7.5 | 7.5
141 | _13. Standard vaccine carriers | <5L | Nilkamal | BBVC23 | 0.91 | - | 0.70833 | 4.78 | 0 | 0 | NA | NA | 9 | 9
142 | _13. Standard vaccine carriers | <5L | APEX | AIVC44 LR | 1.67 | - | 1.4583 | 9.4 | 0 | 0 | NA | NA | 8.7 | 8.7
143 | _13. Standard vaccine carriers | <5L | Blow Kings | BK-VC 1.7-CF | 1.7 | - | 1.5833 | 7.99 | 0 | 0 | NA | NA | 11.5 | 11.5
144 | _13. Standard vaccine carriers | <5L | Nilkamal | BCVC44-A | 1.44 | - | 1.625 | 6.59 | 0 | 0 | NA | NA | 14 | 14
145 | _13. Standard vaccine carriers | <5L | B Medical | RCW1 | 1.18 | - | 1.4167 | 125 | 0 | 0 | NA | NA | 11.5 | 11.5
146 | _13. Standard vaccine carriers | <5L | AOV | AVC46 | 2.46 | - | 2.0833 | 16.8 | 0 | 0 | NA | NA | 119.2982 | 119.2982
147 | _13. Standard vaccine carriers | <5L | APEX | AIVC46 | 2.9 | - | 2.125 | 12.05 | 0 | 0 | NA | NA | 12 | 12
148 | _13. Standard vaccine carriers | <5L | Blow Kings | BK-VC 2.6-CF | 2.6 | - | 1.7917 | 15 | 0 | 0 | NA | NA | 12.05 | 12.05
149 | _13. Standard vaccine carriers | <5L | Nilkamal | BCVC46 | 2.74 | - | 1.9167 | 8.72 | 0 | 0 | NA | NA | 16 | 16
150 | _13. Standard vaccine carriers | <5L | B Medical | RCW4 | 3 | - | 1.25 | 268 | 0 | 0 | NA | NA | 15.8 | 15.8
151 | _13. Standard vaccine carriers | <5L | Blow Kings | BK-VC 3.4-CF | 3.4 | - | 1.7917 | 15 | 0 | 0 | NA | NA | 287.7193 | 287.7193
152 | _14. Freeze free vaccine carriers | <5L | AOV | AFVC 46 | 1.5 | - | 1.4167 | 51 | 0 | 0 | NA | NA | 21 | 21
153 | _14. Freeze free vaccine carriers | <5L | Blowkings | BK-VC-FF 1.6L | 1.6 | - | 1.25 | 55 | 0 | 0 | NA | NA | 51 | 51
154 | _14. Freeze free vaccine carriers | <5L | Qingdao Leff | FFVC-1.7L | 1.7 | - | 1.4042 | 45 | 0 | 0 | NA | NA | 45 | 45
155 | _15. Standard cold box | 5-15 L | APEX | AICB243S | 8 | - | 3.5 | 74 | 0 | 0 | NA | NA | 130 | 130
156 | _15. Standard cold box | 5-15 L | Blow Kings | CB-55-CF | 7 | - | 3.7083 | 67 | 0 | 0 | NA | NA | 100 | 100
157 | _15. Standard cold box | 5-15 L | Nilkamal | RCB324SS | 15 | - | 2.2083 | 48 | 0 | 0 | NA | NA | 100 | 100
158 | _15. Standard cold box | 5-15 L | B Medical | RCW8 | 6 | - | 2.375 | 336 | 0 | 0 | NA | NA | 327.4854 | 327.4854
159 | _15. Standard cold box | 5-15 L | AOV | ACB264SL | 6 | - | 5.5 | 81 | 0 | 0 | NA | NA | 85 | 85
160 | _15. Standard cold box | 5-15 L | APEX | AICB156L | 5.5 | - | 4.4583 | 74 | 0 | 0 | NA | NA | 130 | 130
161 | _15. Standard cold box | 5-15 L | Blow Kings | CB-12-CF | 12 | - | 6.5 | 83 | 0 | 0 | NA | NA | 120 | 120
162 | _15. Standard cold box | 5-15 L | Nilkamal | RCB264SL | 6 | - | 4.4167 | 62 | 0 | 0 | NA | NA | 99 | 99
163 | _15. Standard cold box | 5-15 L | B Medical | RCW12 | 7 | - | 4.75 | 585 | 0 | 0 | NA | NA | 630.4094 | 630.4094
164 | _15. Standard cold box | >15L | APEX | AICB444L | 18 | - | 5.8333 | 95 | 0 | 0 | NA | NA | 122 | 122
165 | _15. Standard cold box | >15L | Nilkamal | RCB246LS | 16 | - | 3.0417 | 62 | 0 | 0 | NA | NA | 100 | 100
166 | _15. Standard cold box | >15L | AOV | ACB503L | 18 | - | 5.25 | 107 | 0 | 0 | NA | NA | 115 | 115
167 | _15. Standard cold box | >15L | APEX | AICB503L | 22.5 | - | 5.3333 | 95 | 0 | 0 | NA | NA | 115 | 115
168 | _15. Standard cold box | >15L | Blow Kings | CB-20-CF | 24 | - | 5.75 | 108 | 0 | 0 | NA | NA | 160 | 160
169 | _15. Standard cold box | >15L | Nilkamal | RCB444L-A | 20.25 | - | 6.3333 | 83 | 0 | 0 | NA | NA | 130 | 130
170 | _15. Standard cold box | >15L | B Medical | RCW25 | 20 | - | 5.5833 | 487 | 0 | 0 | NA | NA | 822.2222 | 822.2222
171 | _16. Freeze free cold boxes | >15L | Qingdao Leff | FFCB-15L | 15.4 | - | 4.4229 | 258 | 0 | 0 | NA | NA | 258 | 258
172 | _17. Voltage regulators for equipment | - | Sollatek | SVS04-22E, 4A 1kVA 100-290V | - | - | - | 95 | 0 | 0 | NA | NA | 95 | 95
173 | _17. Voltage regulators for equipment | - | Sollatek | SVS04-22 4A 1KVA 230V | - | - | - | 65 | 0 | 0 | NA | NA | 65 | 65
174 | _17. Voltage regulators for equipment | - | Haier | HVS-1000 | - | - | - | 68 | 0 | 0 | NA | NA | 68 | 68
175 | _17. Voltage regulators for equipment | - | Sagar | SVS-5K-1P-ER | - | - | - | 550 | 0 | 0 | NA | NA | 550 | 550
176 | _17. Voltage regulators for equipment | - | Sagar | SVS-10K-1P-ER | - | - | - | 950 | 0 | 0 | NA | NA | 950 | 950
177 | _17. Voltage regulators for equipment | - | Sollatek | SVS45E 45A 10kVA 120-288V | - | - | - | 1032 | 0 | 0 | NA | NA | 1032 | 1032
178 | _17. Voltage regulators for equipment | - | Sagar | SVS-10K-TP | - | - | - | 1085 | 0 | 0 | NA | NA | 1085 | 1085
179 | _17. Voltage regulators for equipment | - | Sollatek | AVR3LE020, 20Amps/phase | - | - | - | 1010.9 | 0 | 0 | NA | NA | 1010.9 | 1010.9
180 | _17. Voltage regulators for equipment | - | Sagar | SVS-15K-TP | - | - | - | 1340 | 0 | 0 | NA | NA | 1340 | 1340
181 | _17. Voltage regulators for equipment | - | Sagar | SVS-20K-TP | - | - | - | 1510 | 0 | 0 | NA | NA | 1510 | 1510
182 | _17. Voltage regulators for equipment | - | Sollatek | AVR3LE030, 30Amps/phase | - | - | - | 1547.7 | 0 | 0 | NA | NA | 1547.7 | 1547.7
183 | _17. Voltage regulators for equipment | - | Sagar | SVS-30K-TP | - | - | - | 1730 | 0 | 0 | NA | NA | 1730 | 1730
184 | _17. Voltage regulators for equipment | - | Sollatek | AVR3LE050, 50Amps/phase | - | - | - | 2836.9 | 0 | 0 | NA | NA | 2836.9 | 2836.9
185 | _18. Ice packs | 0.3L | AOV | AIP3 | - | 0.3L | - | 0.87 | 0 | 0 | NA | NA | 0.87 | 0.87
186 | _18. Ice packs | 0.3L | APEX | AIIP03 | - | 0.3L | - | 0.3 | 0 | 0 | NA | NA | 0.3 | 0.3
187 | _18. Ice packs | 0.3L | Blow Kings | BK V4H | - | 0.3L | - | 0.3 | 0 | 0 | NA | NA | 0.3 | 0.3
188 | _18. Ice packs | 0.3L | Nilkamal | BIP-3 | - | 0.3L | - | 0.2 | 0 | 0 | NA | NA | 0.2 | 0.2
189 | _18. Ice packs | 0.3L | B Medical | Icepack 0.3L - set of 40 | - | 0.3L | - | 46 | 0 | 0 | NA | NA | 53.8012 | 53.8012
190 | _18. Ice packs | 0.4L | AOV | AIP4 | - | 0.4L | - | 0.87 | 0 | 0 | NA | NA | 0.87 | 0.87
191 | _18. Ice packs | 0.4L | APEX | AIIP04 | - | 0.4L | - | 0.31 | 0 | 0 | NA | NA | 0.31 | 0.31
192 | _18. Ice packs | 0.4L | Blow Kings | BK 4 | - | 0.4L | - | 0.3 | 0 | 0 | NA | NA | 0.3 | 0.3
193 | _18. Ice packs | 0.4L | Nilkamal | BIP-4 | - | 0.4L | - | 0.2 | 0 | 0 | NA | NA | 0.2 | 0.2
194 | _18. Ice packs | 0.6L | AOV | AIP6 | - | 0.6L | - | 1.23 | 0 | 0 | NA | NA | 1.23 | 1.23
195 | _18. Ice packs | 0.6L | APEX | AIIP06 | - | 0.6L | - | 0.42 | 0 | 0 | NA | NA | 0.42 | 0.42
196 | _18. Ice packs | 0.6L | Blow Kings | BK 6 | - | 0.6L | - | 0.49 | 0 | 0 | NA | NA | 0.49 | 0.49
197 | _18. Ice packs | 0.6L | Nilkamal | BIP-6 | - | 0.6L | - | 0.3 | 0 | 0 | NA | NA | 0.3 | 0.3
198 | _18. Ice packs | 0.6L | B Medical | Icepack 0.6L - set of 24 | - | 0.6L | - | 34 | 0 | 0 | NA | NA | 39.7661 | 39.7661
199 | _19. Spare parts for new ILR equipment without freezer | - | Zero | ZLF 30 AC-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
200 | _19. Spare parts for new ILR equipment without freezer | - | Godrej & Boyce | GVR 25 Lite-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
201 | _19. Spare parts for new ILR equipment without freezer | - | B Medical | TCW 40R AC-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
202 | _19. Spare parts for new ILR equipment without freezer | - | Godrej & Boyce | GVR 50 AC-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
203 | _19. Spare parts for new ILR equipment without freezer | - | Aucma | CFD-50-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
204 | _19. Spare parts for new ILR equipment without freezer | - | Godrej & Boyce | GVR 51 Lite AC-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
205 | _19. Spare parts for new ILR equipment without freezer | - | Vestfrost | VLS 204A-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
206 | _19. Spare parts for new ILR equipment without freezer | - | Haier | HBC 80-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
207 | _19. Spare parts for new ILR equipment without freezer | - | Godrej & Boyce | GVR 75 Lite AC-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
208 | _19. Spare parts for new ILR equipment without freezer | - | Zero | ZLF 80 AC-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
209 | _19. Spare parts for new ILR equipment without freezer | - | B Medical | TCW 80 AC-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
210 | _19. Spare parts for new ILR equipment without freezer | - | Vestfrost | VLS 304A AC-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
211 | _19. Spare parts for new ILR equipment without freezer | - | Godrej & Boyce | GVR 99 Lite AC-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
212 | _19. Spare parts for new ILR equipment without freezer | - | Zero | ZLF 100 AC-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
213 | _19. Spare parts for new ILR equipment without freezer | - | Godrej & Boyce | GVR 100 AC-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
214 | _19. Spare parts for new ILR equipment without freezer | - | Haier | HBC-120-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
215 | _19. Spare parts for new ILR equipment without freezer | - | Haier | HBC 150-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
216 | _19. Spare parts for new ILR equipment without freezer | - | Zero | ZLF 150 AC-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
217 | _19. Spare parts for new ILR equipment without freezer | - | Vestfrost | VLS 404A AC-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
218 | _19. Spare parts for new ILR equipment without freezer |  | Haier | HBC-240-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
219 | _19. Spare parts for new ILR equipment without freezer | - | Dulas Solar | VC 225 ILR-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
220 | _19. Spare parts for new ILR equipment without freezer | - | Haier | HBC 260-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
221 | _19. Spare parts for new ILR equipment without freezer | - | Godrej & Boyce | GVR 225 AC-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
222 | _19. Spare parts for new ILR equipment without freezer | - | B Medical | TCW 4000 AC-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
223 | _19. Spare parts for new ILR equipment without freezer | - | Vestfrost | VLS 504A AC-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
224 | _20. Spare parts for new ILR equipment with freezer | - | Haier | HBCD - 90-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
225 | _20. Spare parts for new ILR equipment with freezer | - | Godrej & Boyce | GVR 55 FF AC-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
226 | _20. Spare parts for new ILR equipment with freezer | - | Vestfrost | VLS 064 RF AC-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
227 | _20. Spare parts for new ILR equipment with freezer | - | B Medical | TCW 2000 AC-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
228 | _21. Spare parts for new freezer equipment | - | Aucma | DW-25W147-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
229 | _21. Spare parts for new freezer equipment | - | Vestfrost | MF 114-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
230 | _21. Spare parts for new freezer equipment | - | Haier | HBD 116-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
231 | _21. Spare parts for new freezer equipment | - | Vestfrost | MF 214-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
232 | _21. Spare parts for new freezer equipment | - | B Medical | TFW 3000 AC-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
233 | _21. Spare parts for new freezer equipment | - | Aucma | DW-25W300-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
234 | _21. Spare parts for new freezer equipment | - | Vestfrost | MF 314-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
235 | _21. Spare parts for new freezer equipment | - | Haier | HBD 286-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
236 | _22. Spare parts for new SDD without freezer comp. | - | SunDanzer | BFRV 15 SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
237 | _22. Spare parts for new SDD without freezer comp. | - | B Medical | TCW 15R SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
238 | _22. Spare parts for new SDD without freezer comp. | - | B Medical | Ultra 16 SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
239 | _22. Spare parts for new SDD without freezer comp. | - | Haier | HTC 40 SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
240 | _22. Spare parts for new SDD without freezer comp. | - | Dulas Solar | VC 30 SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
241 | _22. Spare parts for new SDD without freezer comp. | - | Vestfrost | VLS 024 SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
242 | _22. Spare parts for new SDD without freezer comp. | - | Zero | ZLF 30DC SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
243 | _22. Spare parts for new SDD without freezer comp. | - | B Medical | TCW 40R SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
244 | _22. Spare parts for new SDD without freezer comp. | - | Godrej & Boyce | GVR 50 DC-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
245 | _22. Spare parts for new SDD without freezer comp. | - | Aucma | CFD-50 SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
246 | _22. Spare parts for new SDD without freezer comp. | - | Dulas Solar | VC 50 SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
247 | _22. Spare parts for new SDD without freezer comp. | - | SunDanzer | BFRV 55 SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
248 | _22. Spare parts for new SDD without freezer comp. | - | Vestfrost | VLS 054A SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
249 | _22. Spare parts for new SDD without freezer comp. | - | Haier | HTC 110 SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
250 | _22. Spare parts for new SDD without freezer comp. | - | Haier | HTC-112-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
251 | _22. Spare parts for new SDD without freezer comp. | - | Dulas Solar | VC 88 SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
252 | _22. Spare parts for new SDD without freezer comp. | - | B Medical | TCW 3043 SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
253 | _22. Spare parts for new SDD without freezer comp. | - | Vestfrost | VLS 094A SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
254 | _22. Spare parts for new SDD without freezer comp. | - | Godrej & Boyce | GVR 100 DC-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
255 | _22. Spare parts for new SDD without freezer comp. | - | Zero | ZLF 100 DC-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
256 | _22. Spare parts for new SDD without freezer comp. | - | Haier | HTC-120-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
257 | _22. Spare parts for new SDD without freezer comp. | - | Dulas Solar | VC 110 SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
258 | _22. Spare parts for new SDD without freezer comp. | - | Zero | ZLF 150DC-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
259 | _22. Spare parts for new SDD without freezer comp. | - | Dulas Solar | VC 200 SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
260 | _22. Spare parts for new SDD without freezer comp. | - | Vestfrost | VLS 154A SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
261 | _22. Spare parts for new SDD without freezer comp. | - | Haier | HTC-240-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
262 | _22. Spare parts for new SDD without freezer comp. | - | B Medical | TCW 4000 SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
263 | _23. Spare parts for new SDD with freezer comp. | - | B Medical | TCW 15 SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
264 | _23. Spare parts for new SDD with freezer comp. | - | B Medical | TCW 40 SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
265 | _23. Spare parts for new SDD with freezer comp. | - | Vestfrost | VLS 026 RF SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
266 | _23. Spare parts for new SDD with freezer comp. | - | Haier | HTCD 90 SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
267 | _23. Spare parts for new SDD with freezer comp. | - | Vestfrost | VLS 056 RF SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
268 | _23. Spare parts for new SDD with freezer comp. | - | Dulas Solar | VC 60 SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
269 | _23. Spare parts for new SDD with freezer comp. | - | Godrej & Boyce | GVR 55 FF DC-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
270 | _23. Spare parts for new SDD with freezer comp. | - | B Medical | TCW 2043 SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
271 | _23. Spare parts for new SDD with freezer comp. | - | Haier | HTCD 160 SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
272 | _23. Spare parts for new SDD with freezer comp. | - | Dulas Solar | VC 150 SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
273 | _24. Spare parts for new SDD freezer | - | Vestfrost | VFS 048 SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
274 | _24. Spare parts for new SDD freezer | - | Haier | HTD 40 SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -
275 | _24. Spare parts for new SDD freezer | - | B Medical | TFW 40 SDD-spare parts | - | - | - | - | 0 | 0 | NA | NA | - | -